## Chart
DAP: DAP_CCEXTL1 8/2/2014
Start: | 2014-06-03 | End: | 2014-08-03
Uptime: | 3.1%
MTBF: | 11:16 | MTTR: | 10:55
This Week |  |  |  | Last Week
Start: | 2014-07-27 | End: | 2014-08-03 | Start: | 2014-07-20 | End: | 2014-07-27
Uptime: | 13.7% |  |  | Uptime: | 4.6%
MTBF: | 15:16 | MTTR: | 13:11 | MTBF: | 1:52 | MTTR: | 1:47

## Alarms
DAP: DAP_CCEXTL1 |  | Downtime Alarms | [5 empty] | Description | (All)
Start: | 2014-06-03 | End: | 2014-08-03
Alarm | Description | Start Time | End Time | Duration | Style | Zone | Start Date |  | Data
Unknown | Unknown Conveyor Status | 2014-06-03 | 2014-07-11 09:18 | 921:18 |  |  | 2014-06-03 | Start Date | Sum of Duration | Occurrences
PLCZ-276 | JBox Far Side Module 5 EtherNet I/P Comm. Fault | 2014-07-11 09:18 | 2014-07-11 09:33 | 0:15 |  | DAP_CCEXTL1 | 2014-07-11 | 2014-06-03 | 921:18 | 1
Unknown | Unknown Conveyor Status | 2014-07-11 09:33 | 2014-07-11 09:35 | 0:02 |  |  | 2014-07-11 | 2014-07-11 | 23:42 | 6
PLCZ-276 | JBox Far Side Module 5 EtherNet I/P Comm. Fault | 2014-07-11 09:35 | 2014-07-11 09:46 | 0:11 |  | DAP_CCEXTL1 | 2014-07-11 | 2014-07-12 | 54:32 | 1
Unknown | Unknown Conveyor Status | 2014-07-11 09:46 | 2014-07-11 09:46 | 0:01 |  |  | 2014-07-11 | 2014-07-14 | 17:01 | 1
PLCZ-074 | Booth Gate #4 Opened | 2014-07-11 09:46 | 2014-07-11 16:16 | 6:30 |  | DAP_CCEXTL1 | 2014-07-11 | 2014-07-15 | 47:55 | 7
Unknown | Unknown Conveyor Status | 2014-07-11 16:16 | 2014-07-12 09:00 | 16:43 |  |  | 2014-07-11 | 2014-07-17 | 25:29 | 2
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-07-12 09:00 | 2014-07-14 15:32 | 54:32 |  | DAP_CCEXTL1 | 2014-07-12 | 2014-07-18 | 6:15 | 10
Unknown | Unknown Conveyor Status | 2014-07-14 15:32 | 2014-07-15 08:33 | 17:01 |  |  | 2014-07-14 | 2014-07-19 | 55:37 | 3
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-07-15 08:33 | 2014-07-15 10:02 | 1:29 |  | DAP_CCEXTL1 | 2014-07-15 | 2014-07-21 | 10:32 | 68
Unknown | Unknown Conveyor Status | 2014-07-15 10:02 | 2014-07-15 10:03 | 0:01 |  |  | 2014-07-15 | 2014-07-22 | 24:27 | 7
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-07-15 10:03 | 2014-07-15 10:15 | 0:13 |  | DAP_CCEXTL1 | 2014-07-15 | 2014-07-23 | 30:26 | 11
Unknown | Unknown Conveyor Status | 2014-07-15 10:15 | 2014-07-15 10:20 | 0:04 |  |  | 2014-07-15 | 2014-07-24 | 33:35 | 1
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-07-15 10:20 | 2014-07-15 14:40 | 4:21 |  | DAP_CCEXTL1 | 2014-07-15 | 2014-07-26 | 49:00 | 2
Unknown | Unknown Conveyor Status | 2014-07-15 14:40 | 2014-07-15 14:51 | 0:10 |  |  | 2014-07-15 | 2014-07-28 | 110:54 | 8
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-07-15 14:51 | 2014-07-17 08:28 | 41:37 |  | DAP_CCEXTL1 | 2014-07-15 | 2014-08-01 | 8:06 | 2
Unknown | Unknown Conveyor Status | 2014-07-17 08:28 | 2014-07-17 15:31 | 7:03 |  |  | 2014-07-17 | Grand Total | 1418:49 | 130
PLCZ-078 | Process Air/Power Enable Switch Off | 2014-07-17 15:31 | 2014-07-18 09:57 | 18:26 |  | DAP_CCEXTL1 | 2014-07-17
Unknown | Unknown Conveyor Status | 2014-07-18 09:57 | 2014-07-18 10:14 | 0:17 |  |  | 2014-07-18
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-07-18 10:14 | 2014-07-18 13:06 | 2:52 |  | DAP_CCEXTL1 | 2014-07-18
Unknown | Unknown Conveyor Status | 2014-07-18 13:06 | 2014-07-18 13:06 | 0:00 |  |  | 2014-07-18
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-07-18 13:06 | 2014-07-18 15:44 | 2:37 |  | DAP_CCEXTL1 | 2014-07-18
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-07-18 15:44 | 2014-07-18 15:45 | 0:01 |  | DAP_CCEXTL1 | 2014-07-18
PLCZ-049 | Operator Console E-Stop Pressed | 2014-07-18 15:45 | 2014-07-18 15:45 | 0:00 |  | DAP_CCEXTL1 | 2014-07-18
PLCZ-228 | Write Data to Next Zone Error | 2014-07-18 15:45 | 2014-07-18 15:45 | 0:00 |  | DAP_CCEXTL1 | 2014-07-18
PLCZ-078 | Process Air/Power Enable Switch Off | 2014-07-18 15:51 | 2014-07-18 16:01 | 0:10 |  | DAP_CCEXTL1 | 2014-07-18
PLCZ-228 | Write Data to Next Zone Error | 2014-07-18 16:01 | 2014-07-18 16:01 | 0:00 |  | DAP_CCEXTL1 | 2014-07-18
Unknown | Unknown Conveyor Status | 2014-07-18 16:16 | 2014-07-18 16:34 | 0:17 |  |  | 2014-07-18
PLCZ-007 | FANUC Modular Build Fence Open | 2014-07-19 06:27 | 2014-07-19 13:40 | 7:13 |  | DAP_CCEXTL1 | 2014-07-19
PLCZ-228 | Write Data to Next Zone Error | 2014-07-19 13:40 | 2014-07-19 13:40 | 0:00 |  | DAP_CCEXTL1 | 2014-07-19
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-07-19 13:59 | 2014-07-21 14:22 | 48:23 |  | DAP_CCEXTL1 | 2014-07-19
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-07-21 14:22 | 2014-07-21 14:40 | 0:18 |  | DAP_CCEXTL1 | 2014-07-21
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-07-21 14:41 | 2014-07-21 15:15 | 0:34 |  | DAP_CCEXTL1 | 2014-07-21
PLCZ-125 | Invalid Bypassed States | 2014-07-21 15:15 | 2014-07-21 15:16 | 0:01 |  | DAP_CCEXTL1 | 2014-07-21
PLCR-005 | Teach Pendant Enabled In Manual or Auto | 2014-07-21 15:43 | 2014-07-21 15:44 | 0:00 |  | DAP_CCEXTL1 | 2014-07-21
PNT1-738 | P1:Pump 1 OUT low pressure fault | 2014-07-21 15:45 | 2014-07-21 15:47 | 0:02 | 0 | DAP_CCEXTL1 | 2014-07-21
PLCZ-078 | Process Air/Power Enable Switch Off | 2014-07-21 15:52 | 2014-07-21 16:08 | 0:16 |  | DAP_CCEXTL1 | 2014-07-21
PLCZ-007 | FANUC Modular Build Fence Open | 2014-07-21 16:14 | 2014-07-21 16:14 | 0:00 |  | DAP_CCEXTL1 | 2014-07-21
PNT1-783 | P6:Pump 1 OUT low pressure fault | 2014-07-21 18:54 | 2014-07-21 18:54 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-783 | P6:Pump 1 OUT low pressure fault | 2014-07-21 18:54 | 2014-07-21 18:54 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-783 | P6:Pump 1 OUT low pressure fault | 2014-07-21 18:54 | 2014-07-21 18:56 | 0:02 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-783 | P6:Pump 1 OUT low pressure fault | 2014-07-21 18:57 | 2014-07-21 18:57 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-783 | P6:Pump 1 OUT low pressure fault | 2014-07-21 19:06 | 2014-07-21 19:06 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-783 | P6:Pump 1 OUT low pressure fault | 2014-07-21 19:06 | 2014-07-21 19:09 | 0:03 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-738 | P5:Pump 1 OUT low pressure fault | 2014-07-21 19:09 | 2014-07-21 19:18 | 0:09 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-783 | P6:Pump 1 OUT low pressure fault | 2014-07-21 19:18 | 2014-07-21 19:18 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-783 | P6:Pump 1 OUT low pressure fault | 2014-07-21 19:18 | 2014-07-21 19:18 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-783 | P6:Pump 1 OUT low pressure fault | 2014-07-21 19:19 | 2014-07-21 19:19 | 0:01 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-738 | P5:Pump 1 OUT low pressure fault | 2014-07-21 19:19 | 2014-07-21 19:20 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-783 | P6:Pump 1 OUT low pressure fault | 2014-07-21 19:20 | 2014-07-21 19:20 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-783 | P6:Pump 1 OUT low pressure fault | 2014-07-21 19:21 | 2014-07-21 19:22 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-783 | P4:Pump 1 OUT low pressure fault | 2014-07-21 19:40 | 2014-07-21 19:40 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-738 | P3:Pump 1 OUT low pressure fault | 2014-07-21 19:41 | 2014-07-21 19:41 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PLCR-005 | Teach Pendant Enabled In Manual or Auto | 2014-07-21 19:45 | 2014-07-21 19:45 | 0:00 |  | DAP_CCEXTL1 | 2014-07-21
PNT1-783 | P4:Pump 1 OUT low pressure fault | 2014-07-21 19:46 | 2014-07-21 19:46 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-783 | P4:Pump 1 OUT low pressure fault | 2014-07-21 19:46 | 2014-07-21 19:46 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-783 | P4:Pump 1 OUT low pressure fault | 2014-07-21 19:49 | 2014-07-21 19:49 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-738 | P3:Pump 1 OUT low pressure fault | 2014-07-21 20:37 | 2014-07-21 20:37 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-738 | P3:Pump 1 OUT low pressure fault | 2014-07-21 20:39 | 2014-07-21 20:39 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-738 | P3:Pump 1 OUT low pressure fault | 2014-07-21 20:40 | 2014-07-21 20:40 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-738 | P3:Pump 1 OUT low pressure fault | 2014-07-21 20:57 | 2014-07-21 20:57 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-738 | P3:Pump 1 OUT low pressure fault | 2014-07-21 20:57 | 2014-07-21 20:57 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-738 | P3:Pump 1 OUT low pressure fault | 2014-07-21 21:01 | 2014-07-21 21:02 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-738 | P3:Pump 1 OUT low pressure fault | 2014-07-21 21:02 | 2014-07-21 21:02 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-738 | P3:Pump 1 OUT low pressure fault | 2014-07-21 21:02 | 2014-07-21 21:02 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PLCR-005 | Teach Pendant Enabled In Manual or Auto | 2014-07-21 21:08 | 2014-07-21 21:08 | 0:00 |  | DAP_CCEXTL1 | 2014-07-21
PNT1-783 | P2:Pump 1 OUT low pressure fault | 2014-07-21 21:33 | 2014-07-21 21:33 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
SRVO-199 | Controlled Stop | 2014-07-21 21:39 | 2014-07-21 21:42 | 0:03 |  | DAP_CCEXTL1 | 2014-07-21
PNT1-783 | P2:Pump 1 OUT low pressure fault | 2014-07-21 21:43 | 2014-07-21 21:43 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-738 | P1:Pump 1 OUT low pressure fault | 2014-07-21 21:44 | 2014-07-21 21:44 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-738 | P1:Pump 1 OUT low pressure fault | 2014-07-21 21:44 | 2014-07-21 21:44 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PLCR-005 | Teach Pendant Enabled In Manual or Auto | 2014-07-21 21:45 | 2014-07-21 21:46 | 0:01 |  | DAP_CCEXTL1 | 2014-07-21
PNT1-783 | P2:Pump 1 OUT low pressure fault | 2014-07-21 21:46 | 2014-07-21 21:52 | 0:05 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-783 | P2:Pump 1 OUT low pressure fault | 2014-07-21 21:52 | 2014-07-21 21:52 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-738 | P1:Pump 1 OUT low pressure fault | 2014-07-21 22:03 | 2014-07-21 22:03 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-738 | P1:Pump 1 OUT low pressure fault | 2014-07-21 22:03 | 2014-07-21 22:03 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-738 | P1:Pump 1 OUT low pressure fault | 2014-07-21 22:04 | 2014-07-21 22:04 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-738 | P1:Pump 1 OUT low pressure fault | 2014-07-21 22:21 | 2014-07-21 22:22 | 0:00 |  | DAP_CCEXTL1 | 2014-07-21
PNT1-783 | P2:Pump 1 OUT low pressure fault | 2014-07-21 22:22 | 2014-07-21 22:22 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-738 | P1:Pump 1 OUT low pressure fault | 2014-07-21 22:24 | 2014-07-21 22:24 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-738 | P1:Pump 1 OUT low pressure fault | 2014-07-21 22:24 | 2014-07-21 22:25 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-740 | P1:Pump 1 OUT high pressure fault | 2014-07-21 22:25 | 2014-07-21 22:25 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-783 | P2:Pump 1 OUT low pressure fault | 2014-07-21 22:25 | 2014-07-21 22:25 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-783 | P2:Pump 1 OUT low pressure fault | 2014-07-21 22:50 | 2014-07-21 22:50 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-783 | P2:Pump 1 OUT low pressure fault | 2014-07-21 22:50 | 2014-07-21 22:51 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-783 | P2:Pump 1 OUT low pressure fault | 2014-07-21 22:51 | 2014-07-21 22:51 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-783 | P2:Pump 1 OUT low pressure fault | 2014-07-21 22:53 | 2014-07-21 22:53 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-783 | P2:Pump 1 OUT low pressure fault | 2014-07-21 22:53 | 2014-07-21 22:53 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-783 | P2:Pump 1 OUT low pressure fault | 2014-07-21 22:53 | 2014-07-21 22:53 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-783 | P2:Pump 1 OUT low pressure fault | 2014-07-21 22:53 | 2014-07-21 22:54 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-783 | P2:Pump 1 OUT low pressure fault | 2014-07-21 22:54 | 2014-07-21 22:55 | 0:01 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-738 | P1:Pump 1 OUT low pressure fault | 2014-07-21 22:55 | 2014-07-21 22:55 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-738 | P1:Pump 1 OUT low pressure fault | 2014-07-21 22:56 | 2014-07-21 22:57 | 0:01 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-738 | P1:Pump 1 OUT low pressure fault | 2014-07-21 22:57 | 2014-07-21 22:57 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-738 | P1:Pump 1 OUT low pressure fault | 2014-07-21 22:58 | 2014-07-21 22:58 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-738 | P1:Pump 1 OUT low pressure fault | 2014-07-21 22:58 | 2014-07-21 22:58 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PLCR-005 | Teach Pendant Enabled In Manual or Auto | 2014-07-21 22:59 | 2014-07-21 22:59 | 0:00 |  | DAP_CCEXTL1 | 2014-07-21
PNT1-738 | P1:Pump 1 OUT low pressure fault | 2014-07-21 23:25 | 2014-07-21 23:25 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PLCZ-186 | Request To Enter Circuit Failure | 2014-07-21 23:38 | 2014-07-22 08:22 | 8:44 |  | DAP_CCEXTL1 | 2014-07-21
Unknown | Unknown Conveyor Status | 2014-07-22 08:22 | 2014-07-22 08:22 | 0:00 |  |  | 2014-07-22
PLCZ-125 | Invalid Bypassed States | 2014-07-22 08:22 | 2014-07-22 09:59 | 1:36 |  | DAP_CCEXTL1 | 2014-07-22
PLCZ-078 | Process Air/Power Enable Switch Off | 2014-07-22 10:06 | 2014-07-22 10:07 | 0:01 |  | DAP_CCEXTL1 | 2014-07-22
PLCZ-078 | Process Air/Power Enable Switch Off | 2014-07-22 10:09 | 2014-07-22 10:59 | 0:50 |  | DAP_CCEXTL1 | 2014-07-22
Unknown | Unknown Conveyor Status | 2014-07-22 10:59 | 2014-07-22 14:27 | 3:28 |  |  | 2014-07-22
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-07-22 14:27 | 2014-07-22 14:56 | 0:28 |  | DAP_CCEXTL1 | 2014-07-22
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-07-22 14:56 | 2014-07-23 08:59 | 18:03 |  | DAP_CCEXTL1 | 2014-07-22
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-07-23 08:59 | 2014-07-23 08:59 | 0:01 |  | DAP_CCEXTL1 | 2014-07-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-07-23 09:00 | 2014-07-23 09:00 | 0:00 |  | DAP_CCEXTL1 | 2014-07-23
PLCZ-125 | Invalid Bypassed States | 2014-07-23 09:00 | 2014-07-23 09:01 | 0:01 |  | DAP_CCEXTL1 | 2014-07-23
PLCZ-078 | Process Air/Power Enable Switch Off | 2014-07-23 09:01 | 2014-07-23 09:01 | 0:00 |  | DAP_CCEXTL1 | 2014-07-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-07-23 09:01 | 2014-07-23 09:02 | 0:01 |  | DAP_CCEXTL1 | 2014-07-23
PLCZ-049 | Operator Console E-Stop Pressed | 2014-07-23 09:02 | 2014-07-23 09:02 | 0:00 |  | DAP_CCEXTL1 | 2014-07-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-07-23 09:02 | 2014-07-23 09:30 | 0:28 |  | DAP_CCEXTL1 | 2014-07-23
PLCZ-041 | Operator Holding Conveyor For Queue Edit | 2014-07-23 09:31 | 2014-07-23 09:31 | 0:00 |  | DAP_CCEXTL1 | 2014-07-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-07-23 09:31 | 2014-07-23 09:42 | 0:11 |  | DAP_CCEXTL1 | 2014-07-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-07-23 09:43 | 2014-07-23 13:47 | 4:04 |  | DAP_CCEXTL1 | 2014-07-23
Unknown | Unknown Conveyor Status | 2014-07-23 13:48 | 2014-07-24 15:28 | 25:40 |  |  | 2014-07-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-07-24 15:28 | 2014-07-26 01:03 | 33:35 |  | DAP_CCEXTL1 | 2014-07-24
Unknown | Unknown Conveyor Status | 2014-07-26 01:03 | 2014-07-26 07:59 | 6:56 |  |  | 2014-07-26
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-07-26 07:59 | 2014-07-28 02:02 | 42:04 |  | DAP_CCEXTL1 | 2014-07-26
Unknown | Unknown Conveyor Status | 2014-07-28 02:02 | 2014-07-28 06:08 | 4:05 |  |  | 2014-07-28
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-07-28 06:08 | 2014-07-28 13:10 | 7:02 |  | DAP_CCEXTL1 | 2014-07-28
Unknown | Unknown Conveyor Status | 2014-07-28 13:10 | 2014-07-28 13:12 | 0:02 |  |  | 2014-07-28
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-07-28 13:12 | 2014-07-28 13:42 | 0:30 |  | DAP_CCEXTL1 | 2014-07-28
Unknown | Unknown Conveyor Status | 2014-07-28 13:42 | 2014-07-28 13:42 | 0:01 |  |  | 2014-07-28
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-07-28 13:42 | 2014-07-28 14:25 | 0:42 |  | DAP_CCEXTL1 | 2014-07-28
Unknown | Unknown Conveyor Status | 2014-07-28 14:25 | 2014-07-28 14:49 | 0:24 |  |  | 2014-07-28
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-07-28 14:49 | 2014-08-01 16:57 | 98:08 |  | DAP_CCEXTL1 | 2014-07-28
Unknown | Unknown Conveyor Status | 2014-08-01 16:57 | 2014-08-01 17:10 | 0:13 |  |  | 2014-08-01
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-08-01 17:10 | 2014-08-02 01:02 | 7:52 |  | DAP_CCEXTL1 | 2014-08-01

## ThisWeekDurationSummary
DAP: DAP_CCEXTL1 |  | Top 5 Downtime Alarms by Duration
Start: | 2014-07-27 | End: | 2014-08-03
Uptime: | 13.7% | MTBF: | 15:16 | MTTR: | 13:11
Alarm | Description | Duration | Duration(%) | Occurrences | Occurrences(%) | Alarm Description
PLCZ-032 | Conveyor Hold Selected at SCC | 114:15 | 78.77% | 5 | 45.45% | PLCZ-032 Conveyor Hold Selected at SCC
PLCZ-078 | Process Air/Power Enable Switch Off | 26:02 | 17.95% | 1 | 9.091% | PLCZ-078 Process Air/Power Enable Switch Off
Unknown | Unknown Conveyor Status | 4:45 | 3.277% | 5 | 45.45% | Unknown Unknown Conveyor Status
Total |  | 145:02 | 100% | 11 | 100% | Total
Overall |  | 168:00 |  |  |  | Overall

## ThisWeekOccurrenceSummary
DAP: DAP_CCEXTL1 |  | Top 5 Downtime Alarms by Occurrences
Start: | 2014-07-27 | End: | 2014-08-03
Uptime: | 13.7% | MTBF: | 15:16 | MTTR: | 13:11
Alarm | Description | Duration | Duration(%) | Occurrences | Occurrences(%) | Alarm Description
Unknown | Unknown Conveyor Status | 4:45 | 3.277% | 5 | 45.45% | Unknown Unknown Conveyor Status
PLCZ-032 | Conveyor Hold Selected at SCC | 114:15 | 78.77% | 5 | 45.45% | PLCZ-032 Conveyor Hold Selected at SCC
PLCZ-078 | Process Air/Power Enable Switch Off | 26:02 | 17.95% | 1 | 9.091% | PLCZ-078 Process Air/Power Enable Switch Off
Total |  | 145:02 | 100% | 11 | 100% | Total
Overall |  | 168:00 |  |  |  | Overall

## ThisWeekAlarms
DAP: DAP_CCEXTL1 |  | Downtime Alarms
Start: | 2014-07-27 | End: | 2014-08-03
Alarm | Description | Start Time | End Time | Duration | Style | Zone | Start Date
PLCZ-078 | Process Air/Power Enable Switch Off | 2014-07-27 | 2014-07-28 02:02 | 26:02 |  | DAP_CCEXTL1 | 2014-07-27
Unknown | Unknown Conveyor Status | 2014-07-28 02:02 | 2014-07-28 06:08 | 4:05 |  |  | 2014-07-28
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-07-28 06:08 | 2014-07-28 13:10 | 7:02 |  | DAP_CCEXTL1 | 2014-07-28
Unknown | Unknown Conveyor Status | 2014-07-28 13:10 | 2014-07-28 13:12 | 0:02 |  |  | 2014-07-28
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-07-28 13:12 | 2014-07-28 13:42 | 0:30 |  | DAP_CCEXTL1 | 2014-07-28
Unknown | Unknown Conveyor Status | 2014-07-28 13:42 | 2014-07-28 13:42 | 0:01 |  |  | 2014-07-28
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-07-28 13:42 | 2014-07-28 14:25 | 0:42 |  | DAP_CCEXTL1 | 2014-07-28
Unknown | Unknown Conveyor Status | 2014-07-28 14:25 | 2014-07-28 14:49 | 0:24 |  |  | 2014-07-28
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-07-28 14:49 | 2014-08-01 16:57 | 98:08 |  | DAP_CCEXTL1 | 2014-07-28
Unknown | Unknown Conveyor Status | 2014-08-01 16:57 | 2014-08-01 17:10 | 0:13 |  |  | 2014-08-01
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-08-01 17:10 | 2014-08-02 01:02 | 7:52 |  | DAP_CCEXTL1 | 2014-08-01

## LastWeekDurationSummary
DAP: DAP_CCEXTL1 |  | Top 5 Downtime Alarms by Duration
Start: | 2014-07-20 | End: | 2014-07-27
Uptime: | 4.6% | MTBF: | 1:52 | MTTR: | 1:47
Alarm | Description | Duration | Duration(%) | Occurrences | Occurrences(%) | Alarm Description
PLCZ-032 | Conveyor Hold Selected at SCC | 112:06 | 69.93% | 13 | 14.44% | PLCZ-032 Conveyor Hold Selected at SCC
Unknown | Unknown Conveyor Status | 36:04 | 22.5% | 4 | 4.444% | Unknown Unknown Conveyor Status
PLCZ-186 | Request To Enter Circuit Failure | 8:44 | 5.444% | 1 | 1.111% | PLCZ-186 Request To Enter Circuit Failure
PLCZ-125 | Invalid Bypassed States | 1:38 | 1.023% | 3 | 3.333% | PLCZ-125 Invalid Bypassed States
PLCZ-078 | Process Air/Power Enable Switch Off | 1:07 | 0.6977% | 4 | 4.444% | PLCZ-078 Process Air/Power Enable Switch Off
Total |  | 160:19 | 100% | 90 | 100% | Total
Overall |  | 168:00 |  |  |  | Overall

## LastWeekOccurrenceSummary
DAP: DAP_CCEXTL1 |  | Top 5 Downtime Alarms by Occurrences
Start: | 2014-07-20 | End: | 2014-07-27
Uptime: | 4.6% | MTBF: | 1:52 | MTTR: | 1:47
Alarm | Description | Duration | Duration(%) | Occurrences | Occurrences(%) | Alarm Description
PNT1-783 | P6:Pump 1 OUT low pressure fault | 0:17 | 0.1779% | 29 | 32.22% | PNT1-783 P6:Pump 1 OUT low pressure fault
PNT1-738 | P1:Pump 1 OUT low pressure fault | 0:17 | 0.1743% | 26 | 28.89% | PNT1-738 P1:Pump 1 OUT low pressure fault
PLCZ-032 | Conveyor Hold Selected at SCC | 112:06 | 69.93% | 13 | 14.44% | PLCZ-032 Conveyor Hold Selected at SCC
PLCR-005 | Teach Pendant Enabled In Manual or Auto | 0:01 | 0.01213% | 5 | 5.556% | PLCR-005 Teach Pendant Enabled In Manual or Auto
PLCZ-078 | Process Air/Power Enable Switch Off | 1:07 | 0.6977% | 4 | 4.444% | PLCZ-078 Process Air/Power Enable Switch Off
Total |  | 160:19 | 100% | 90 | 100% | Total
Overall |  | 168:00 |  |  |  | Overall

## LastWeekAlarms
DAP: DAP_CCEXTL1 |  | Downtime Alarms
Start: | 2014-07-20 | End: | 2014-07-27
Alarm | Description | Start Time | End Time | Duration | Style | Zone | Start Date
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-07-20 | 2014-07-21 14:22 | 38:22 |  | DAP_CCEXTL1 | 2014-07-20
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-07-21 14:22 | 2014-07-21 14:40 | 0:18 |  | DAP_CCEXTL1 | 2014-07-21
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-07-21 14:41 | 2014-07-21 15:15 | 0:34 |  | DAP_CCEXTL1 | 2014-07-21
PLCZ-125 | Invalid Bypassed States | 2014-07-21 15:15 | 2014-07-21 15:16 | 0:01 |  | DAP_CCEXTL1 | 2014-07-21
PLCR-005 | Teach Pendant Enabled In Manual or Auto | 2014-07-21 15:43 | 2014-07-21 15:44 | 0:00 |  | DAP_CCEXTL1 | 2014-07-21
PNT1-738 | P1:Pump 1 OUT low pressure fault | 2014-07-21 15:45 | 2014-07-21 15:47 | 0:02 | 0 | DAP_CCEXTL1 | 2014-07-21
PLCZ-078 | Process Air/Power Enable Switch Off | 2014-07-21 15:52 | 2014-07-21 16:08 | 0:16 |  | DAP_CCEXTL1 | 2014-07-21
PLCZ-007 | FANUC Modular Build Fence Open | 2014-07-21 16:14 | 2014-07-21 16:14 | 0:00 |  | DAP_CCEXTL1 | 2014-07-21
PNT1-783 | P6:Pump 1 OUT low pressure fault | 2014-07-21 18:54 | 2014-07-21 18:54 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-783 | P6:Pump 1 OUT low pressure fault | 2014-07-21 18:54 | 2014-07-21 18:54 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-783 | P6:Pump 1 OUT low pressure fault | 2014-07-21 18:54 | 2014-07-21 18:56 | 0:02 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-783 | P6:Pump 1 OUT low pressure fault | 2014-07-21 18:57 | 2014-07-21 18:57 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-783 | P6:Pump 1 OUT low pressure fault | 2014-07-21 19:06 | 2014-07-21 19:06 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-783 | P6:Pump 1 OUT low pressure fault | 2014-07-21 19:06 | 2014-07-21 19:09 | 0:03 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-738 | P5:Pump 1 OUT low pressure fault | 2014-07-21 19:09 | 2014-07-21 19:18 | 0:09 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-783 | P6:Pump 1 OUT low pressure fault | 2014-07-21 19:18 | 2014-07-21 19:18 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-783 | P6:Pump 1 OUT low pressure fault | 2014-07-21 19:18 | 2014-07-21 19:18 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-783 | P6:Pump 1 OUT low pressure fault | 2014-07-21 19:19 | 2014-07-21 19:19 | 0:01 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-738 | P5:Pump 1 OUT low pressure fault | 2014-07-21 19:19 | 2014-07-21 19:20 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-783 | P6:Pump 1 OUT low pressure fault | 2014-07-21 19:20 | 2014-07-21 19:20 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-783 | P6:Pump 1 OUT low pressure fault | 2014-07-21 19:21 | 2014-07-21 19:22 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-783 | P4:Pump 1 OUT low pressure fault | 2014-07-21 19:40 | 2014-07-21 19:40 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-738 | P3:Pump 1 OUT low pressure fault | 2014-07-21 19:41 | 2014-07-21 19:41 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PLCR-005 | Teach Pendant Enabled In Manual or Auto | 2014-07-21 19:45 | 2014-07-21 19:45 | 0:00 |  | DAP_CCEXTL1 | 2014-07-21
PNT1-783 | P4:Pump 1 OUT low pressure fault | 2014-07-21 19:46 | 2014-07-21 19:46 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-783 | P4:Pump 1 OUT low pressure fault | 2014-07-21 19:46 | 2014-07-21 19:46 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-783 | P4:Pump 1 OUT low pressure fault | 2014-07-21 19:49 | 2014-07-21 19:49 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-738 | P3:Pump 1 OUT low pressure fault | 2014-07-21 20:37 | 2014-07-21 20:37 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-738 | P3:Pump 1 OUT low pressure fault | 2014-07-21 20:39 | 2014-07-21 20:39 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-738 | P3:Pump 1 OUT low pressure fault | 2014-07-21 20:40 | 2014-07-21 20:40 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-738 | P3:Pump 1 OUT low pressure fault | 2014-07-21 20:57 | 2014-07-21 20:57 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-738 | P3:Pump 1 OUT low pressure fault | 2014-07-21 20:57 | 2014-07-21 20:57 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-738 | P3:Pump 1 OUT low pressure fault | 2014-07-21 21:01 | 2014-07-21 21:02 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-738 | P3:Pump 1 OUT low pressure fault | 2014-07-21 21:02 | 2014-07-21 21:02 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-738 | P3:Pump 1 OUT low pressure fault | 2014-07-21 21:02 | 2014-07-21 21:02 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PLCR-005 | Teach Pendant Enabled In Manual or Auto | 2014-07-21 21:08 | 2014-07-21 21:08 | 0:00 |  | DAP_CCEXTL1 | 2014-07-21
PNT1-783 | P2:Pump 1 OUT low pressure fault | 2014-07-21 21:33 | 2014-07-21 21:33 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
SRVO-199 | Controlled Stop | 2014-07-21 21:39 | 2014-07-21 21:42 | 0:03 |  | DAP_CCEXTL1 | 2014-07-21
PNT1-783 | P2:Pump 1 OUT low pressure fault | 2014-07-21 21:43 | 2014-07-21 21:43 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-738 | P1:Pump 1 OUT low pressure fault | 2014-07-21 21:44 | 2014-07-21 21:44 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-738 | P1:Pump 1 OUT low pressure fault | 2014-07-21 21:44 | 2014-07-21 21:44 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PLCR-005 | Teach Pendant Enabled In Manual or Auto | 2014-07-21 21:45 | 2014-07-21 21:46 | 0:01 |  | DAP_CCEXTL1 | 2014-07-21
PNT1-783 | P2:Pump 1 OUT low pressure fault | 2014-07-21 21:46 | 2014-07-21 21:52 | 0:05 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-783 | P2:Pump 1 OUT low pressure fault | 2014-07-21 21:52 | 2014-07-21 21:52 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-738 | P1:Pump 1 OUT low pressure fault | 2014-07-21 22:03 | 2014-07-21 22:03 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-738 | P1:Pump 1 OUT low pressure fault | 2014-07-21 22:03 | 2014-07-21 22:03 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-738 | P1:Pump 1 OUT low pressure fault | 2014-07-21 22:04 | 2014-07-21 22:04 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-738 | P1:Pump 1 OUT low pressure fault | 2014-07-21 22:21 | 2014-07-21 22:22 | 0:00 |  | DAP_CCEXTL1 | 2014-07-21
PNT1-783 | P2:Pump 1 OUT low pressure fault | 2014-07-21 22:22 | 2014-07-21 22:22 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-738 | P1:Pump 1 OUT low pressure fault | 2014-07-21 22:24 | 2014-07-21 22:24 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-738 | P1:Pump 1 OUT low pressure fault | 2014-07-21 22:24 | 2014-07-21 22:25 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-740 | P1:Pump 1 OUT high pressure fault | 2014-07-21 22:25 | 2014-07-21 22:25 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-783 | P2:Pump 1 OUT low pressure fault | 2014-07-21 22:25 | 2014-07-21 22:25 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-783 | P2:Pump 1 OUT low pressure fault | 2014-07-21 22:50 | 2014-07-21 22:50 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-783 | P2:Pump 1 OUT low pressure fault | 2014-07-21 22:50 | 2014-07-21 22:51 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-783 | P2:Pump 1 OUT low pressure fault | 2014-07-21 22:51 | 2014-07-21 22:51 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-783 | P2:Pump 1 OUT low pressure fault | 2014-07-21 22:53 | 2014-07-21 22:53 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-783 | P2:Pump 1 OUT low pressure fault | 2014-07-21 22:53 | 2014-07-21 22:53 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-783 | P2:Pump 1 OUT low pressure fault | 2014-07-21 22:53 | 2014-07-21 22:53 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-783 | P2:Pump 1 OUT low pressure fault | 2014-07-21 22:53 | 2014-07-21 22:54 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-783 | P2:Pump 1 OUT low pressure fault | 2014-07-21 22:54 | 2014-07-21 22:55 | 0:01 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-738 | P1:Pump 1 OUT low pressure fault | 2014-07-21 22:55 | 2014-07-21 22:55 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-738 | P1:Pump 1 OUT low pressure fault | 2014-07-21 22:56 | 2014-07-21 22:57 | 0:01 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-738 | P1:Pump 1 OUT low pressure fault | 2014-07-21 22:57 | 2014-07-21 22:57 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-738 | P1:Pump 1 OUT low pressure fault | 2014-07-21 22:58 | 2014-07-21 22:58 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PNT1-738 | P1:Pump 1 OUT low pressure fault | 2014-07-21 22:58 | 2014-07-21 22:58 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PLCR-005 | Teach Pendant Enabled In Manual or Auto | 2014-07-21 22:59 | 2014-07-21 22:59 | 0:00 |  | DAP_CCEXTL1 | 2014-07-21
PNT1-738 | P1:Pump 1 OUT low pressure fault | 2014-07-21 23:25 | 2014-07-21 23:25 | 0:00 | 0 | DAP_CCEXTL1 | 2014-07-21
PLCZ-186 | Request To Enter Circuit Failure | 2014-07-21 23:38 | 2014-07-22 08:22 | 8:44 |  | DAP_CCEXTL1 | 2014-07-21
Unknown | Unknown Conveyor Status | 2014-07-22 08:22 | 2014-07-22 08:22 | 0:00 |  |  | 2014-07-22
PLCZ-125 | Invalid Bypassed States | 2014-07-22 08:22 | 2014-07-22 09:59 | 1:36 |  | DAP_CCEXTL1 | 2014-07-22
PLCZ-078 | Process Air/Power Enable Switch Off | 2014-07-22 10:06 | 2014-07-22 10:07 | 0:01 |  | DAP_CCEXTL1 | 2014-07-22
PLCZ-078 | Process Air/Power Enable Switch Off | 2014-07-22 10:09 | 2014-07-22 10:59 | 0:50 |  | DAP_CCEXTL1 | 2014-07-22
Unknown | Unknown Conveyor Status | 2014-07-22 10:59 | 2014-07-22 14:27 | 3:28 |  |  | 2014-07-22
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-07-22 14:27 | 2014-07-22 14:56 | 0:28 |  | DAP_CCEXTL1 | 2014-07-22
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-07-22 14:56 | 2014-07-23 08:59 | 18:03 |  | DAP_CCEXTL1 | 2014-07-22
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-07-23 08:59 | 2014-07-23 08:59 | 0:01 |  | DAP_CCEXTL1 | 2014-07-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-07-23 09:00 | 2014-07-23 09:00 | 0:00 |  | DAP_CCEXTL1 | 2014-07-23
PLCZ-125 | Invalid Bypassed States | 2014-07-23 09:00 | 2014-07-23 09:01 | 0:01 |  | DAP_CCEXTL1 | 2014-07-23
PLCZ-078 | Process Air/Power Enable Switch Off | 2014-07-23 09:01 | 2014-07-23 09:01 | 0:00 |  | DAP_CCEXTL1 | 2014-07-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-07-23 09:01 | 2014-07-23 09:02 | 0:01 |  | DAP_CCEXTL1 | 2014-07-23
PLCZ-049 | Operator Console E-Stop Pressed | 2014-07-23 09:02 | 2014-07-23 09:02 | 0:00 |  | DAP_CCEXTL1 | 2014-07-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-07-23 09:02 | 2014-07-23 09:30 | 0:28 |  | DAP_CCEXTL1 | 2014-07-23
PLCZ-041 | Operator Holding Conveyor For Queue Edit | 2014-07-23 09:31 | 2014-07-23 09:31 | 0:00 |  | DAP_CCEXTL1 | 2014-07-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-07-23 09:31 | 2014-07-23 09:42 | 0:11 |  | DAP_CCEXTL1 | 2014-07-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-07-23 09:43 | 2014-07-23 13:47 | 4:04 |  | DAP_CCEXTL1 | 2014-07-23
Unknown | Unknown Conveyor Status | 2014-07-23 13:48 | 2014-07-24 15:28 | 25:40 |  |  | 2014-07-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-07-24 15:28 | 2014-07-26 01:03 | 33:35 |  | DAP_CCEXTL1 | 2014-07-24
Unknown | Unknown Conveyor Status | 2014-07-26 01:03 | 2014-07-26 07:59 | 6:56 |  |  | 2014-07-26
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-07-26 07:59 | 2014-07-27 | 16:01 |  | DAP_CCEXTL1 | 2014-07-26

## TotalOccurrenceSummary
DAP: DAP_CCEXTL1 |  | Total of Each Week's Top 5 Downtime Alarms by Occurrences
Start: | 2013-08-03 | End: | 2014-08-03
Alarm | Description | Duration | Occurrences | Alarm Description
PLCZ-186 | Request To Enter Circuit Failure | 8:44 | 1 | PLCZ-186 Request To Enter Circuit Failure
PLCZ-007 | FANUC Modular Build Fence Open | 7:13 | 1 | PLCZ-007 FANUC Modular Build Fence Open
PLCZ-074 | Booth Gate #4 Opened | 6:30 | 1 | PLCZ-074 Booth Gate #4 Opened
PLCZ-027 | E-Stats/Motion Locked Out | 0:46 | 1 | PLCZ-027 E-Stats/Motion Locked Out
SRVO-001 | Operator panel E-stop | 3:22 | 1 | SRVO-001 Operator panel E-stop
PLCZ-276 | JBox Far Side Module 5 EtherNet I/P Comm. Fault | 0:26 | 2 | PLCZ-276 JBox Far Side Module 5 EtherNet I/P Comm. Fault
SRVO-402 | DCS Cart. pos. limit(17,G1,M0) 11 | 0:22 | 2 | SRVO-402 DCS Cart. pos. limit(17,G1,M0) 11
PLCZ-125 | Invalid Bypassed States | 1:38 | 3 | PLCZ-125 Invalid Bypassed States
PLCZ-228 | Write Data to Next Zone Error | 0:00 | 3 | PLCZ-228 Write Data to Next Zone Error
PLCZ-078 | Process Air/Power Enable Switch Off | 55:46 | 8 | PLCZ-078 Process Air/Power Enable Switch Off
PLCZ-095 | Exit Intrusion Fault | 1:21 | 8 | PLCZ-095 Exit Intrusion Fault
PLCZ-049 | Operator Console E-Stop Pressed | 4:54 | 9 | PLCZ-049 Operator Console E-Stop Pressed
PLCR-131 | P4 Holding Conveyor Until Home | 0:23 | 10 | PLCR-131 P4 Holding Conveyor Until Home
PLCR-052 | P3 Waiting For Color Change | 0:32 | 16 | PLCR-052 P3 Waiting For Color Change
Unknown | Unknown Conveyor Status | 193:42 | 34 | Unknown Unknown Conveyor Status
PLCZ-032 | Conveyor Hold Selected at SCC | 326:01 | 99 | PLCZ-032 Conveyor Hold Selected at SCC
PNT2-813 | P6 :Estat Imax fault | 2:40 | 99 | PNT2-813 P6 :Estat Imax fault

## TotalDurationSummary
DAP: DAP_CCEXTL1 |  | Total of Each Week's Top 5 Downtime Alarms by Duration
Start: | 2013-08-03 | End: | 2014-08-03
Alarm | Description | Duration | Occurrences | Alarm Description
PLCZ-049 | Operator Console E-Stop Pressed | 0:00 | 1 | PLCZ-049 Operator Console E-Stop Pressed
PLCZ-228 | Write Data to Next Zone Error | 0:00 | 3 | PLCZ-228 Write Data to Next Zone Error
PLCR-005 | Teach Pendant Enabled In Manual or Auto | 0:01 | 5 | PLCR-005 Teach Pendant Enabled In Manual or Auto
PLCZ-087 | Entrance Intrusion Fault | 0:02 | 9 | PLCZ-087 Entrance Intrusion Fault
PNT1-704 | P1 Zero turbine speed timeout | 0:06 | 11 | PNT1-704 P1 Zero turbine speed timeout
PNT1-726 | P2 Bearing Air NOT OK | 0:11 | 14 | PNT1-726 P2 Bearing Air NOT OK
PLCR-051 | P3 Holding Conveyor Until Home | 0:14 | 8 | PLCR-051 P3 Holding Conveyor Until Home
PNT1-544 | P3 : - Color: 6 Canister Out Of Paint | 0:16 | 12 | PNT1-544 P3 : - Color: 6 Canister Out Of Paint
PNT1-738 | P1:Pump 1 OUT low pressure fault | 0:17 | 26 | PNT1-738 P1:Pump 1 OUT low pressure fault
PNT1-783 | P6:Pump 1 OUT low pressure fault | 0:17 | 29 | PNT1-783 P6:Pump 1 OUT low pressure fault
PLCR-131 | P4 Holding Conveyor Until Home | 0:23 | 10 | PLCR-131 P4 Holding Conveyor Until Home
PLCZ-276 | JBox Far Side Module 5 EtherNet I/P Comm. Fault | 0:26 | 2 | PLCZ-276 JBox Far Side Module 5 EtherNet I/P Comm. Fault
PLCR-052 | P3 Waiting For Color Change | 0:32 | 16 | PLCR-052 P3 Waiting For Color Change
PLCZ-095 | Exit Intrusion Fault | 1:38 | 74 | PLCZ-095 Exit Intrusion Fault
PNT2-813 | P6 :Estat Imax fault | 2:40 | 99 | PNT2-813 P6 :Estat Imax fault
PLCZ-074 | Booth Gate #4 Opened | 6:30 | 1 | PLCZ-074 Booth Gate #4 Opened
PLCZ-078 | Process Air/Power Enable Switch Off | 55:46 | 8 | PLCZ-078 Process Air/Power Enable Switch Off
Unknown | Unknown Conveyor Status | 159:00 | 16 | Unknown Unknown Conveyor Status
PLCZ-032 | Conveyor Hold Selected at SCC | 326:01 | 99 | PLCZ-032 Conveyor Hold Selected at SCC