## Chart
DAP: DAP_CCEXTL1 9/27/2014
Start: | 2014-07-28 | End: | 2014-09-28
Uptime: | 3.5%
MTBF: | 5:10 | MTTR: | 4:59
This Week |  |  |  | Last Week
Start: | 2014-09-21 | End: | 2014-09-28 | Start: | 2014-09-14 | End: | 2014-09-21
Uptime: | 13.1% |  |  | Uptime: | 17.4%
MTBF: | 0:50 | MTTR: | 0:44 | MTBF: | 7:00 | MTTR: | 5:47

## Alarms
DAP: DAP_CCEXTL1 |  | Downtime Alarms | [5 empty] | Description | (All)
Start: | 2014-07-28 | End: | 2014-09-28
Alarm | Description | Start Time | End Time | Duration | Style | Zone | Start Date |  | Data
PLCZ-078 | Process Air/Power Enable Switch Off | 2014-07-28 | 2014-07-28 02:02 | 2:02 |  | DAP_CCEXTL1 | 2014-07-28 | Start Date | Sum of Duration | Occurrences
Unknown | Unknown Conveyor Status | 2014-07-28 02:02 | 2014-07-28 06:08 | 4:05 |  |  | 2014-07-28 | 2014-07-28 | 112:57 | 9
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-07-28 06:08 | 2014-07-28 13:10 | 7:02 |  | DAP_CCEXTL1 | 2014-07-28 | 2014-08-01 | 8:06 | 2
Unknown | Unknown Conveyor Status | 2014-07-28 13:10 | 2014-07-28 13:12 | 0:02 |  |  | 2014-07-28 | 2014-08-02 | 49:00 | 2
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-07-28 13:12 | 2014-07-28 13:42 | 0:30 |  | DAP_CCEXTL1 | 2014-07-28 | 2014-08-04 | 31:46 | 2
Unknown | Unknown Conveyor Status | 2014-07-28 13:42 | 2014-07-28 13:42 | 0:01 |  |  | 2014-07-28 | 2014-08-05 | 21:01 | 4
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-07-28 13:42 | 2014-07-28 14:25 | 0:42 |  | DAP_CCEXTL1 | 2014-07-28 | 2014-08-06 | 22:34 | 29
Unknown | Unknown Conveyor Status | 2014-07-28 14:25 | 2014-07-28 14:49 | 0:24 |  |  | 2014-07-28 | 2014-08-07 | 42:42 | 8
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-07-28 14:49 | 2014-08-01 16:57 | 98:08 |  | DAP_CCEXTL1 | 2014-07-28 | 2014-08-09 | 55:14 | 2
Unknown | Unknown Conveyor Status | 2014-08-01 16:57 | 2014-08-01 17:10 | 0:13 |  |  | 2014-08-01 | 2014-08-11 | 28:39 | 6
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-08-01 17:10 | 2014-08-02 01:02 | 7:52 |  | DAP_CCEXTL1 | 2014-08-01 | 2014-08-12 | 819:55 | 1
Unknown | Unknown Conveyor Status | 2014-08-02 01:02 | 2014-08-02 08:09 | 7:07 |  |  | 2014-08-02 | 2014-09-15 | 16:53 | 3
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-08-02 08:09 | 2014-08-04 02:02 | 41:53 |  | DAP_CCEXTL1 | 2014-08-02 | 2014-09-16 | 1:16 | 7
Unknown | Unknown Conveyor Status | 2014-08-04 02:02 | 2014-08-04 08:33 | 6:31 |  |  | 2014-08-04 | 2014-09-17 | 23:45 | 2
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-08-04 08:33 | 2014-08-05 09:48 | 25:15 |  | DAP_CCEXTL1 | 2014-08-04 | 2014-09-18 | 25:41 | 1
Unknown | Unknown Conveyor Status | 2014-08-05 09:48 | 2014-08-05 09:50 | 0:01 |  |  | 2014-08-05 | 2014-09-19 | 15:32 | 2
PLCZ-049 | Operator Console E-Stop Pressed | 2014-08-05 09:50 | 2014-08-05 10:29 | 0:40 |  | DAP_CCEXTL1 | 2014-08-05 | 2014-09-20 | 15:46 | 8
Unknown | Unknown Conveyor Status | 2014-08-05 10:29 | 2014-08-05 10:42 | 0:13 |  |  | 2014-08-05 | 2014-09-21 | 26:32 | 30
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-08-05 10:42 | 2014-08-06 06:50 | 20:08 |  | DAP_CCEXTL1 | 2014-08-05 | 2014-09-22 | 34:47 | 4
Unknown | Unknown Conveyor Status | 2014-08-06 06:50 | 2014-08-06 06:50 | 0:01 |  |  | 2014-08-06 | 2014-09-23 | 10:35 | 48
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-08-06 06:50 | 2014-08-06 06:57 | 0:07 |  | DAP_CCEXTL1 | 2014-08-06 | 2014-09-24 | 23:41 | 56
PLCZ-228 | Write Data to Next Zone Error | 2014-08-06 06:57 | 2014-08-06 06:57 | 0:00 |  | DAP_CCEXTL1 | 2014-08-06 | 2014-09-25 | 21:14 | 4
PNT2-814 | P2:Estat spark detected fault | 2014-08-06 06:59 | 2014-08-06 07:05 | 0:06 | 12 | DAP_CCEXTL1 | 2014-08-06 | 2014-09-26 | 25:11 | 40
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-08-06 07:06 | 2014-08-06 07:14 | 0:08 |  | DAP_CCEXTL1 | 2014-08-06 | 2014-09-27 | 3:08 | 18
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-08-06 07:14 | 2014-08-06 07:14 | 0:00 |  | DAP_CCEXTL1 | 2014-08-06 | Grand Total | 1435:53 | 288
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-08-06 07:17 | 2014-08-06 07:29 | 0:13 |  | DAP_CCEXTL1 | 2014-08-06
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-08-06 07:29 | 2014-08-06 07:30 | 0:00 |  | DAP_CCEXTL1 | 2014-08-06
PLCZ-228 | Write Data to Next Zone Error | 2014-08-06 07:30 | 2014-08-06 07:30 | 0:00 |  | DAP_CCEXTL1 | 2014-08-06
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-08-06 07:33 | 2014-08-06 07:39 | 0:06 |  | DAP_CCEXTL1 | 2014-08-06
PLCZ-078 | Process Air/Power Enable Switch Off | 2014-08-06 07:39 | 2014-08-06 07:40 | 0:00 |  | DAP_CCEXTL1 | 2014-08-06
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-08-06 07:40 | 2014-08-06 07:44 | 0:04 |  | DAP_CCEXTL1 | 2014-08-06
PLCZ-228 | Write Data to Next Zone Error | 2014-08-06 07:44 | 2014-08-06 07:44 | 0:01 |  | DAP_CCEXTL1 | 2014-08-06
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-08-06 07:47 | 2014-08-06 07:55 | 0:08 |  | DAP_CCEXTL1 | 2014-08-06
PLCZ-228 | Write Data to Next Zone Error | 2014-08-06 07:55 | 2014-08-06 07:55 | 0:00 |  | DAP_CCEXTL1 | 2014-08-06
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-08-06 07:58 | 2014-08-06 08:06 | 0:08 |  | DAP_CCEXTL1 | 2014-08-06
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-08-06 08:06 | 2014-08-06 08:06 | 0:00 |  | DAP_CCEXTL1 | 2014-08-06
PLCZ-228 | Write Data to Next Zone Error | 2014-08-06 08:06 | 2014-08-06 08:06 | 0:00 |  | DAP_CCEXTL1 | 2014-08-06
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-08-06 08:21 | 2014-08-06 16:50 | 8:29 |  | DAP_CCEXTL1 | 2014-08-06
Unknown | Unknown Conveyor Status | 2014-08-06 16:50 | 2014-08-06 17:03 | 0:13 |  |  | 2014-08-06
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-08-06 17:03 | 2014-08-06 19:26 | 2:23 |  | DAP_CCEXTL1 | 2014-08-06
Unknown | Unknown Conveyor Status | 2014-08-06 19:26 | 2014-08-06 19:27 | 0:01 |  |  | 2014-08-06
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-08-06 19:27 | 2014-08-06 20:44 | 1:17 |  | DAP_CCEXTL1 | 2014-08-06
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-08-06 20:44 | 2014-08-06 20:53 | 0:09 |  | DAP_CCEXTL1 | 2014-08-06
PLCZ-078 | Process Air/Power Enable Switch Off | 2014-08-06 20:58 | 2014-08-06 21:01 | 0:03 |  | DAP_CCEXTL1 | 2014-08-06
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-08-06 21:01 | 2014-08-06 21:21 | 0:20 |  | DAP_CCEXTL1 | 2014-08-06
Unknown | Unknown Conveyor Status | 2014-08-06 21:21 | 2014-08-06 21:22 | 0:00 |  |  | 2014-08-06
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-08-06 21:22 | 2014-08-06 21:26 | 0:04 |  | DAP_CCEXTL1 | 2014-08-06
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-08-06 21:26 | 2014-08-07 05:58 | 8:32 |  | DAP_CCEXTL1 | 2014-08-06
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-08-07 06:02 | 2014-08-07 08:52 | 2:50 |  | DAP_CCEXTL1 | 2014-08-07
PLCZ-228 | Write Data to Next Zone Error | 2014-08-07 08:52 | 2014-08-07 08:52 | 0:00 |  | DAP_CCEXTL1 | 2014-08-07
PLCZ-078 | Process Air/Power Enable Switch Off | 2014-08-07 08:55 | 2014-08-07 09:01 | 0:05 |  | DAP_CCEXTL1 | 2014-08-07
PLCZ-228 | Write Data to Next Zone Error | 2014-08-07 09:01 | 2014-08-07 09:01 | 0:00 |  | DAP_CCEXTL1 | 2014-08-07
PLCZ-049 | Operator Console E-Stop Pressed | 2014-08-07 09:03 | 2014-08-07 09:29 | 0:26 |  | DAP_CCEXTL1 | 2014-08-07
PLCZ-049 | Operator Console E-Stop Pressed | 2014-08-07 09:42 | 2014-08-07 11:35 | 1:53 |  | DAP_CCEXTL1 | 2014-08-07
Unknown | Unknown Conveyor Status | 2014-08-07 11:35 | 2014-08-07 11:37 | 0:02 |  |  | 2014-08-07
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-08-07 11:37 | 2014-08-09 01:02 | 37:26 |  | DAP_CCEXTL1 | 2014-08-07
Unknown | Unknown Conveyor Status | 2014-08-09 01:02 | 2014-08-09 05:56 | 4:54 |  |  | 2014-08-09
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-08-09 05:56 | 2014-08-11 08:16 | 50:20 |  | DAP_CCEXTL1 | 2014-08-09
Unknown | Unknown Conveyor Status | 2014-08-11 08:16 | 2014-08-11 08:32 | 0:16 |  |  | 2014-08-11
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-08-11 08:32 | 2014-08-11 11:13 | 2:41 |  | DAP_CCEXTL1 | 2014-08-11
PLCZ-040 | Operator Holding Conveyor Ghost Sim | 2014-08-11 11:14 | 2014-08-11 11:16 | 0:03 |  | DAP_CCEXTL1 | 2014-08-11
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-08-11 11:16 | 2014-08-11 16:29 | 5:13 |  | DAP_CCEXTL1 | 2014-08-11
Unknown | Unknown Conveyor Status | 2014-08-11 16:29 | 2014-08-11 16:36 | 0:07 |  |  | 2014-08-11
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-08-11 16:36 | 2014-08-12 12:55 | 20:19 |  | DAP_CCEXTL1 | 2014-08-11
Unknown | Unknown Conveyor Status | 2014-08-12 12:55 | 2014-09-15 16:50 | 819:55 |  |  | 2014-08-12
PLCZ-241 | EtherNet I/P Safe Ouput Failure | 2014-09-15 16:50 | 2014-09-15 17:19 | 0:29 |  | DAP_CCEXTL1 | 2014-09-15
Unknown | Unknown Conveyor Status | 2014-09-15 17:19 | 2014-09-15 17:32 | 0:13 |  |  | 2014-09-15
PLCZ-020 | Booth Air Interlock Fault | 2014-09-15 17:32 | 2014-09-16 09:43 | 16:10 |  | DAP_CCEXTL1 | 2014-09-15
PLCZ-174 | Exit Light Curtain Fault Present | 2014-09-16 10:22 | 2014-09-16 10:25 | 0:03 |  | DAP_CCEXTL1 | 2014-09-16
PLCZ-172 | Exit Light Curtain Cycle Inputs | 2014-09-16 10:25 | 2014-09-16 10:25 | 0:00 |  | DAP_CCEXTL1 | 2014-09-16
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-16 11:29 | 2014-09-16 11:54 | 0:25 |  | DAP_CCEXTL1 | 2014-09-16
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-16 13:29 | 2014-09-16 13:30 | 0:00 |  | DAP_CCEXTL1 | 2014-09-16
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-16 13:41 | 2014-09-16 14:04 | 0:23 |  | DAP_CCEXTL1 | 2014-09-16
PLCZ-049 | Operator Console E-Stop Pressed | 2014-09-16 17:23 | 2014-09-16 17:37 | 0:14 |  | DAP_CCEXTL1 | 2014-09-16
Unknown | Unknown Conveyor Status | 2014-09-16 18:36 | 2014-09-16 18:47 | 0:10 |  |  | 2014-09-16
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-17 16:07 | 2014-09-17 16:22 | 0:15 |  | DAP_CCEXTL1 | 2014-09-17
Unknown | Unknown Conveyor Status | 2014-09-17 16:22 | 2014-09-18 15:53 | 23:30 |  |  | 2014-09-17
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-18 15:53 | 2014-09-19 17:33 | 25:41 |  | DAP_CCEXTL1 | 2014-09-18
Unknown | Unknown Conveyor Status | 2014-09-19 17:33 | 2014-09-19 17:42 | 0:09 |  |  | 2014-09-19
PLCZ-125 | Invalid Bypassed States | 2014-09-19 17:42 | 2014-09-20 09:05 | 15:23 |  | DAP_CCEXTL1 | 2014-09-19
Unknown | Unknown Conveyor Status | 2014-09-20 09:05 | 2014-09-20 09:06 | 0:01 |  |  | 2014-09-20
PLCZ-007 | FANUC Modular Build Fence Open | 2014-09-20 09:06 | 2014-09-20 15:32 | 6:26 |  | DAP_CCEXTL1 | 2014-09-20
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-20 15:38 | 2014-09-20 17:31 | 1:53 |  | DAP_CCEXTL1 | 2014-09-20
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-20 17:31 | 2014-09-20 18:11 | 0:39 |  | DAP_CCEXTL1 | 2014-09-20
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-20 18:11 | 2014-09-20 18:18 | 0:07 |  | DAP_CCEXTL1 | 2014-09-20
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-20 18:18 | 2014-09-20 18:19 | 0:00 |  | DAP_CCEXTL1 | 2014-09-20
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-20 18:19 | 2014-09-20 18:33 | 0:14 |  | DAP_CCEXTL1 | 2014-09-20
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-20 18:33 | 2014-09-21 00:58 | 6:25 |  | DAP_CCEXTL1 | 2014-09-20
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-21 00:58 | 2014-09-21 02:11 | 1:13 |  | DAP_CCEXTL1 | 2014-09-21
PLCZ-034 | Conveyor Held By FANUC | 2014-09-21 02:24 | 2014-09-21 02:27 | 0:03 |  | DAP_CCEXTL1 | 2014-09-21
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-21 02:30 | 2014-09-21 02:35 | 0:05 |  | DAP_CCEXTL1 | 2014-09-21
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-21 02:42 | 2014-09-21 19:27 | 16:45 |  | DAP_CCEXTL1 | 2014-09-21
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-21 19:28 | 2014-09-21 19:29 | 0:01 |  | DAP_CCEXTL1 | 2014-09-21
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-21 19:29 | 2014-09-21 19:32 | 0:02 |  | DAP_CCEXTL1 | 2014-09-21
Unknown | Unknown Conveyor Status | 2014-09-21 19:32 | 2014-09-21 19:32 | 0:01 |  |  | 2014-09-21
PLCZ-007 | FANUC Modular Build Fence Open | 2014-09-21 19:32 | 2014-09-21 19:36 | 0:03 |  | DAP_CCEXTL1 | 2014-09-21
PLCZ-186 | Request To Enter Circuit Failure | 2014-09-21 19:37 | 2014-09-21 19:37 | 0:00 |  | DAP_CCEXTL1 | 2014-09-21
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-21 19:37 | 2014-09-21 20:16 | 0:39 |  | DAP_CCEXTL1 | 2014-09-21
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-21 20:16 | 2014-09-21 20:16 | 0:00 |  | DAP_CCEXTL1 | 2014-09-21
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-21 20:16 | 2014-09-21 21:51 | 1:34 |  | DAP_CCEXTL1 | 2014-09-21
PLCZ-009 | Muting Active While Robot is at Cover Change | 2014-09-21 21:51 | 2014-09-21 21:52 | 0:00 |  | DAP_CCEXTL1 | 2014-09-21
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-21 21:53 | 2014-09-21 21:53 | 0:00 |  | DAP_CCEXTL1 | 2014-09-21
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-21 21:53 | 2014-09-21 22:15 | 0:22 |  | DAP_CCEXTL1 | 2014-09-21
PLCZ-009 | Muting Active While Robot is at Cover Change | 2014-09-21 22:15 | 2014-09-21 22:16 | 0:01 |  | DAP_CCEXTL1 | 2014-09-21
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-21 22:17 | 2014-09-21 22:17 | 0:00 |  | DAP_CCEXTL1 | 2014-09-21
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-21 22:17 | 2014-09-21 22:26 | 0:09 |  | DAP_CCEXTL1 | 2014-09-21
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-21 22:26 | 2014-09-21 22:32 | 0:05 |  | DAP_CCEXTL1 | 2014-09-21
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-21 22:32 | 2014-09-21 22:47 | 0:15 |  | DAP_CCEXTL1 | 2014-09-21
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-21 22:47 | 2014-09-21 22:50 | 0:02 |  | DAP_CCEXTL1 | 2014-09-21
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-21 22:50 | 2014-09-21 22:55 | 0:05 |  | DAP_CCEXTL1 | 2014-09-21
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-21 22:55 | 2014-09-21 22:56 | 0:01 |  | DAP_CCEXTL1 | 2014-09-21
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-21 22:56 | 2014-09-21 22:58 | 0:01 |  | DAP_CCEXTL1 | 2014-09-21
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-21 22:58 | 2014-09-21 23:02 | 0:04 |  | DAP_CCEXTL1 | 2014-09-21
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-21 23:02 | 2014-09-21 23:05 | 0:02 |  | DAP_CCEXTL1 | 2014-09-21
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-21 23:05 | 2014-09-21 23:11 | 0:06 |  | DAP_CCEXTL1 | 2014-09-21
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-21 23:11 | 2014-09-21 23:11 | 0:00 |  | DAP_CCEXTL1 | 2014-09-21
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-21 23:11 | 2014-09-21 23:17 | 0:06 |  | DAP_CCEXTL1 | 2014-09-21
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-21 23:17 | 2014-09-22 03:59 | 4:43 |  | DAP_CCEXTL1 | 2014-09-21
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-22 04:28 | 2014-09-22 05:44 | 1:16 |  | DAP_CCEXTL1 | 2014-09-22
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-22 05:46 | 2014-09-22 05:46 | 0:00 |  | DAP_CCEXTL1 | 2014-09-22
Unknown | Unknown Conveyor Status | 2014-09-22 05:47 | 2014-09-22 16:30 | 10:43 |  |  | 2014-09-22
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-22 16:30 | 2014-09-23 15:17 | 22:47 |  | DAP_CCEXTL1 | 2014-09-22
PLCZ-186 | Request To Enter Circuit Failure | 2014-09-23 15:19 | 2014-09-23 15:19 | 0:00 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-186 | Request To Enter Circuit Failure | 2014-09-23 15:19 | 2014-09-23 15:19 | 0:00 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-078 | Process Air/Power Enable Switch Off | 2014-09-23 15:20 | 2014-09-23 15:20 | 0:00 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-034 | Conveyor Held By FANUC | 2014-09-23 15:22 | 2014-09-23 15:26 | 0:04 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 15:34 | 2014-09-23 15:35 | 0:00 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 16:07 | 2014-09-23 16:07 | 0:00 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-186 | Request To Enter Circuit Failure | 2014-09-23 16:07 | 2014-09-23 16:09 | 0:01 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 16:10 | 2014-09-23 16:11 | 0:01 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 16:11 | 2014-09-23 16:13 | 0:02 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 16:13 | 2014-09-23 16:27 | 0:14 |  | DAP_CCEXTL1 | 2014-09-23
Unknown | Unknown Conveyor Status | 2014-09-23 16:27 | 2014-09-23 16:32 | 0:05 |  |  | 2014-09-23
PLCZ-078 | Process Air/Power Enable Switch Off | 2014-09-23 16:32 | 2014-09-23 17:32 | 1:00 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 17:33 | 2014-09-23 17:48 | 0:15 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 17:48 | 2014-09-23 17:50 | 0:02 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 17:50 | 2014-09-23 17:50 | 0:00 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 17:50 | 2014-09-23 17:54 | 0:03 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 17:54 | 2014-09-23 18:18 | 0:24 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 18:19 | 2014-09-23 18:22 | 0:03 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 18:22 | 2014-09-23 18:25 | 0:03 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 18:25 | 2014-09-23 18:29 | 0:04 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 18:29 | 2014-09-23 18:35 | 0:05 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 18:35 | 2014-09-23 18:39 | 0:04 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 18:39 | 2014-09-23 19:16 | 0:37 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-027 | E-Stats/Motion Locked Out | 2014-09-23 19:16 | 2014-09-23 19:17 | 0:00 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 19:17 | 2014-09-23 20:07 | 0:50 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 20:07 | 2014-09-23 20:08 | 0:01 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 20:08 | 2014-09-23 20:09 | 0:01 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-087 | Entrance Intrusion Fault | 2014-09-23 20:09 | 2014-09-23 20:09 | 0:00 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 20:10 | 2014-09-23 20:20 | 0:10 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 20:20 | 2014-09-23 20:23 | 0:02 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 20:23 | 2014-09-23 20:25 | 0:02 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 20:25 | 2014-09-23 20:52 | 0:26 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 20:53 | 2014-09-23 20:58 | 0:05 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 20:58 | 2014-09-23 21:08 | 0:10 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 21:08 | 2014-09-23 21:14 | 0:05 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 21:15 | 2014-09-23 21:25 | 0:11 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 21:26 | 2014-09-23 21:37 | 0:11 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 21:37 | 2014-09-23 21:42 | 0:05 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 21:42 | 2014-09-23 21:48 | 0:06 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 21:48 | 2014-09-23 21:51 | 0:03 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 21:51 | 2014-09-23 21:57 | 0:05 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 21:57 | 2014-09-23 22:01 | 0:04 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 22:01 | 2014-09-23 22:08 | 0:06 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 22:08 | 2014-09-23 22:15 | 0:07 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 22:15 | 2014-09-23 22:28 | 0:13 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 22:29 | 2014-09-23 22:33 | 0:03 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 22:33 | 2014-09-23 22:58 | 0:25 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 22:59 | 2014-09-24 02:51 | 3:51 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 02:51 | 2014-09-24 02:51 | 0:00 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 02:52 | 2014-09-24 02:57 | 0:05 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 02:57 | 2014-09-24 03:06 | 0:10 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 03:07 | 2014-09-24 03:54 | 0:47 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 03:55 | 2014-09-24 04:57 | 1:03 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 04:58 | 2014-09-24 06:02 | 1:03 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 06:02 | 2014-09-24 06:05 | 0:03 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 06:06 | 2014-09-24 07:42 | 1:37 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 07:44 | 2014-09-24 07:59 | 0:15 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 07:59 | 2014-09-24 08:59 | 1:00 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 09:01 | 2014-09-24 09:06 | 0:05 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 09:06 | 2014-09-24 09:15 | 0:09 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 09:15 | 2014-09-24 09:26 | 0:11 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 09:26 | 2014-09-24 09:27 | 0:00 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 09:27 | 2014-09-24 09:35 | 0:08 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 09:35 | 2014-09-24 09:43 | 0:09 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 09:44 | 2014-09-24 09:44 | 0:00 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 09:44 | 2014-09-24 09:51 | 0:07 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 09:52 | 2014-09-24 09:52 | 0:00 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 09:52 | 2014-09-24 09:53 | 0:01 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 09:53 | 2014-09-24 10:00 | 0:07 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 10:00 | 2014-09-24 10:01 | 0:00 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 10:01 | 2014-09-24 10:01 | 0:01 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 10:02 | 2014-09-24 10:09 | 0:07 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 10:09 | 2014-09-24 10:09 | 0:00 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 10:09 | 2014-09-24 10:22 | 0:13 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 10:23 | 2014-09-24 10:44 | 0:21 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 10:44 | 2014-09-24 10:54 | 0:10 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 10:54 | 2014-09-24 10:58 | 0:04 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 10:58 | 2014-09-24 11:04 | 0:06 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 11:04 | 2014-09-24 11:11 | 0:06 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 11:11 | 2014-09-24 11:20 | 0:09 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 11:20 | 2014-09-24 12:49 | 1:29 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 12:51 | 2014-09-24 12:54 | 0:04 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 12:55 | 2014-09-24 12:57 | 0:02 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 12:57 | 2014-09-24 12:58 | 0:00 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 12:58 | 2014-09-24 17:21 | 4:23 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 17:21 | 2014-09-24 17:27 | 0:06 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 17:27 | 2014-09-24 17:27 | 0:00 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 17:27 | 2014-09-24 17:31 | 0:04 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 17:32 | 2014-09-24 17:46 | 0:15 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 17:46 | 2014-09-24 17:49 | 0:02 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 17:49 | 2014-09-24 18:02 | 0:13 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 18:02 | 2014-09-24 18:02 | 0:00 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 18:02 | 2014-09-24 18:06 | 0:04 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 18:06 | 2014-09-24 18:14 | 0:08 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 18:14 | 2014-09-24 18:26 | 0:12 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 18:26 | 2014-09-24 18:32 | 0:07 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 18:33 | 2014-09-24 18:42 | 0:10 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 19:55 | 2014-09-24 19:58 | 0:03 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 19:59 | 2014-09-24 20:00 | 0:01 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 20:01 | 2014-09-24 20:14 | 0:13 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 20:14 | 2014-09-24 21:14 | 1:00 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 21:14 | 2014-09-24 21:18 | 0:04 |  | DAP_CCEXTL1 | 2014-09-24
PNT1-351 | P4:SA not calibrated | 2014-09-24 21:18 | 2014-09-24 21:26 | 0:08 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 21:29 | 2014-09-25 04:03 | 6:34 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-25 04:05 | 2014-09-25 04:31 | 0:26 |  | DAP_CCEXTL1 | 2014-09-25
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-25 04:31 | 2014-09-25 04:40 | 0:09 |  | DAP_CCEXTL1 | 2014-09-25
Unknown | Unknown Conveyor Status | 2014-09-25 04:43 | 2014-09-25 11:20 | 6:36 |  |  | 2014-09-25
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-25 11:20 | 2014-09-26 01:23 | 14:03 |  | DAP_CCEXTL1 | 2014-09-25
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-26 01:47 | 2014-09-26 01:52 | 0:05 |  | DAP_CCEXTL1 | 2014-09-26
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-26 01:52 | 2014-09-26 01:52 | 0:00 |  | DAP_CCEXTL1 | 2014-09-26
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-26 01:53 | 2014-09-26 01:53 | 0:00 |  | DAP_CCEXTL1 | 2014-09-26
PNT1-740 | P1:Pump 1 OUT high pressure fault | 2014-09-26 01:54 | 2014-09-26 01:55 | 0:01 | 6 | DAP_CCEXTL1 | 2014-09-26
PNT1-740 | P1:Pump 1 OUT high pressure fault | 2014-09-26 01:58 | 2014-09-26 01:58 | 0:00 | 0 | DAP_CCEXTL1 | 2014-09-26
PLCZ-009 | Muting Active While Robot is at Cover Change | 2014-09-26 02:09 | 2014-09-26 02:38 | 0:29 |  | DAP_CCEXTL1 | 2014-09-26
PLCZ-078 | Process Air/Power Enable Switch Off | 2014-09-26 02:39 | 2014-09-26 02:45 | 0:06 |  | DAP_CCEXTL1 | 2014-09-26
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-26 02:46 | 2014-09-26 11:24 | 8:37 |  | DAP_CCEXTL1 | 2014-09-26
PLCZ-186 | Request To Enter Circuit Failure | 2014-09-26 11:25 | 2014-09-26 11:25 | 0:00 |  | DAP_CCEXTL1 | 2014-09-26
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-26 13:11 | 2014-09-26 13:11 | 0:00 |  | DAP_CCEXTL1 | 2014-09-26
PNT1-709 | 2P3 Bearing Air NOT OK | 2014-09-26 13:11 | 2014-09-26 13:14 | 0:02 |  | DAP_CCEXTL1 | 2014-09-26
PLCZ-078 | Process Air/Power Enable Switch Off | 2014-09-26 13:14 | 2014-09-26 13:20 | 0:06 |  | DAP_CCEXTL1 | 2014-09-26
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-26 13:25 | 2014-09-26 13:29 | 0:04 |  | DAP_CCEXTL1 | 2014-09-26
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-26 13:39 | 2014-09-26 13:41 | 0:02 |  | DAP_CCEXTL1 | 2014-09-26
PLCZ-087 | Entrance Intrusion Fault | 2014-09-26 13:58 | 2014-09-26 13:59 | 0:01 |  | DAP_CCEXTL1 | 2014-09-26
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-26 14:11 | 2014-09-26 14:12 | 0:01 |  | DAP_CCEXTL1 | 2014-09-26
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-26 14:14 | 2014-09-26 14:15 | 0:01 |  | DAP_CCEXTL1 | 2014-09-26
PLCR-132 | 2P4 Waiting For Color Change | 2014-09-26 14:16 | 2014-09-26 14:16 | 0:00 | 5 | DAP_CCEXTL1 | 2014-09-26
PNT2-814 | P4:Estat spark detected fault | 2014-09-26 14:17 | 2014-09-26 14:21 | 0:04 | 5 | DAP_CCEXTL1 | 2014-09-26
PLCZ-078 | Process Air/Power Enable Switch Off | 2014-09-26 14:57 | 2014-09-26 15:56 | 0:59 |  | DAP_CCEXTL1 | 2014-09-26
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-26 15:56 | 2014-09-26 16:27 | 0:31 |  | DAP_CCEXTL1 | 2014-09-26
PNT1-709 | 2P1 Bearing Air NOT OK | 2014-09-26 16:52 | 2014-09-26 16:53 | 0:01 | 0 | DAP_CCEXTL1 | 2014-09-26
PNT1-738 | P1:Pump 1 OUT low pressure fault | 2014-09-26 17:21 | 2014-09-26 17:22 | 0:01 | 0 | DAP_CCEXTL1 | 2014-09-26
PLCZ-049 | Operator Console E-Stop Pressed | 2014-09-26 17:29 | 2014-09-26 17:30 | 0:00 |  | DAP_CCEXTL1 | 2014-09-26
PLCZ-078 | Process Air/Power Enable Switch Off | 2014-09-26 17:30 | 2014-09-26 17:30 | 0:01 |  | DAP_CCEXTL1 | 2014-09-26
PLCZ-087 | Entrance Intrusion Fault | 2014-09-26 17:41 | 2014-09-26 17:41 | 0:00 |  | DAP_CCEXTL1 | 2014-09-26
PNT1-738 | P1:Pump 1 OUT low pressure fault | 2014-09-26 17:55 | 2014-09-26 17:56 | 0:01 | 0 | DAP_CCEXTL1 | 2014-09-26
PNT1-738 | P1:Pump 1 OUT low pressure fault | 2014-09-26 17:59 | 2014-09-26 18:00 | 0:01 | 0 | DAP_CCEXTL1 | 2014-09-26
PNT1-444 | P3:Tracking que exceeded | 2014-09-26 18:02 | 2014-09-26 18:11 | 0:09 | 2 | DAP_CCEXTL1 | 2014-09-26
PNT1-738 | P1:Pump 1 OUT low pressure fault | 2014-09-26 18:11 | 2014-09-26 18:12 | 0:01 | 5 | DAP_CCEXTL1 | 2014-09-26
PNT1-738 | P1:Pump 1 OUT low pressure fault | 2014-09-26 18:12 | 2014-09-26 18:13 | 0:01 | 5 | DAP_CCEXTL1 | 2014-09-26
PLCR-132 | 2P4 Waiting For Color Change | 2014-09-26 18:14 | 2014-09-26 18:14 | 0:00 | 3 | DAP_CCEXTL1 | 2014-09-26
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-26 18:15 | 2014-09-26 18:16 | 0:01 |  | DAP_CCEXTL1 | 2014-09-26
PNT1-738 | P1:Pump 1 OUT low pressure fault | 2014-09-26 18:17 | 2014-09-26 18:17 | 0:00 | 5 | DAP_CCEXTL1 | 2014-09-26
SRVO-115 | 2P5 Limit error (G:1, A:4) | 2014-09-26 18:19 | 2014-09-26 18:25 | 0:07 | 9 | DAP_CCEXTL1 | 2014-09-26
PLCR-052 | 2P5 Waiting For Color Change | 2014-09-26 18:25 | 2014-09-26 18:26 | 0:00 | 5 | DAP_CCEXTL1 | 2014-09-26
PLCZ-087 | Entrance Intrusion Fault | 2014-09-26 18:26 | 2014-09-26 18:28 | 0:02 |  | DAP_CCEXTL1 | 2014-09-26
PLCZ-034 | Conveyor Held By FANUC | 2014-09-26 18:42 | 2014-09-26 18:42 | 0:00 |  | DAP_CCEXTL1 | 2014-09-26
PLCZ-027 | E-Stats/Motion Locked Out | 2014-09-26 18:58 | 2014-09-26 21:59 | 3:01 |  | DAP_CCEXTL1 | 2014-09-26
PLCZ-027 | E-Stats/Motion Locked Out | 2014-09-26 21:59 | 2014-09-27 08:33 | 10:34 |  | DAP_CCEXTL1 | 2014-09-26
PLCZ-125 | Invalid Bypassed States | 2014-09-27 08:33 | 2014-09-27 08:34 | 0:01 |  | DAP_CCEXTL1 | 2014-09-27
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-27 08:37 | 2014-09-27 08:49 | 0:12 |  | DAP_CCEXTL1 | 2014-09-27
PNT1-738 | P1:Pump 1 OUT low pressure fault | 2014-09-27 09:09 | 2014-09-27 09:09 | 0:00 | 0 | DAP_CCEXTL1 | 2014-09-27
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-27 09:27 | 2014-09-27 11:06 | 1:38 |  | DAP_CCEXTL1 | 2014-09-27
PLCZ-050 | E-Stop #1 Pressed | 2014-09-27 11:39 | 2014-09-27 11:41 | 0:02 |  | DAP_CCEXTL1 | 2014-09-27
PLCZ-125 | Invalid Bypassed States | 2014-09-27 18:53 | 2014-09-27 18:53 | 0:00 |  | DAP_CCEXTL1 | 2014-09-27
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-27 18:55 | 2014-09-27 19:12 | 0:17 |  | DAP_CCEXTL1 | 2014-09-27
PNT1-738 | P1:Pump 1 OUT low pressure fault | 2014-09-27 19:48 | 2014-09-27 19:49 | 0:01 | 0 | DAP_CCEXTL1 | 2014-09-27
PNT1-738 | P1:Pump 1 OUT low pressure fault | 2014-09-27 19:49 | 2014-09-27 19:50 | 0:01 | 8 | DAP_CCEXTL1 | 2014-09-27
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-27 19:53 | 2014-09-27 20:19 | 0:26 |  | DAP_CCEXTL1 | 2014-09-27
PLCZ-041 | Operator Holding Conveyor For Queue Edit | 2014-09-27 20:45 | 2014-09-27 20:45 | 0:00 |  | DAP_CCEXTL1 | 2014-09-27
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-27 23:01 | 2014-09-27 23:02 | 0:02 |  | DAP_CCEXTL1 | 2014-09-27
PNT1-740 | P5:Pump 1 OUT high pressure fault | 2014-09-27 23:05 | 2014-09-27 23:07 | 0:03 | 5 | DAP_CCEXTL1 | 2014-09-27
PLCZ-087 | Entrance Intrusion Fault | 2014-09-27 23:25 | 2014-09-27 23:26 | 0:01 |  | DAP_CCEXTL1 | 2014-09-27
PNT1-740 | P5:Pump 1 OUT high pressure fault | 2014-09-27 23:29 | 2014-09-27 23:29 | 0:01 | 0 | DAP_CCEXTL1 | 2014-09-27
PLCZ-078 | Process Air/Power Enable Switch Off | 2014-09-27 23:33 | 2014-09-27 23:57 | 0:24 |  | DAP_CCEXTL1 | 2014-09-27
PLCZ-078 | Process Air/Power Enable Switch Off | 2014-09-27 23:59 | 2014-09-28 | 0:00 |  | DAP_CCEXTL1 | 2014-09-27
PLCZ-078 | Process Air/Power Enable Switch Off | 2014-09-28 | 2014-09-28 | 0:00 |  | DAP_CCEXTL1 | 2014-09-27

## ThisWeekDurationSummary
DAP: DAP_CCEXTL1 |  | Top 5 Downtime Alarms by Duration
Start: | 2014-09-21 | End: | 2014-09-28
Uptime: | 13.1% | MTBF: | 0:50 | MTTR: | 0:44
Alarm | Description | Duration | Duration(%) | Occurrences | Occurrences(%) | Alarm Description
PLCZ-032 | Conveyor Hold Selected at SCC | 109:58 | 75.28% | 140 | 69.65% | PLCZ-032 Conveyor Hold Selected at SCC
Unknown | Unknown Conveyor Status | 17:25 | 11.92% | 4 | 1.99% | Unknown Unknown Conveyor Status
PLCZ-027 | E-Stats/Motion Locked Out | 13:35 | 9.302% | 3 | 1.493% | PLCZ-027 E-Stats/Motion Locked Out
PLCZ-078 | Process Air/Power Enable Switch Off | 2:35 | 1.771% | 9 | 4.478% | PLCZ-078 Process Air/Power Enable Switch Off
PLCZ-007 | FANUC Modular Build Fence Open | 1:01 | 0.7015% | 2 | 0.995% | PLCZ-007 FANUC Modular Build Fence Open
Total |  | 146:04 | 100% | 201 | 100% | Total
Overall |  | 168:00 |  |  |  | Overall

## ThisWeekOccurrenceSummary
DAP: DAP_CCEXTL1 |  | Top 5 Downtime Alarms by Occurrences
Start: | 2014-09-21 | End: | 2014-09-28
Uptime: | 13.1% | MTBF: | 0:50 | MTTR: | 0:44
Alarm | Description | Duration | Duration(%) | Occurrences | Occurrences(%) | Alarm Description
PLCZ-032 | Conveyor Hold Selected at SCC | 109:58 | 75.28% | 140 | 69.65% | PLCZ-032 Conveyor Hold Selected at SCC
PNT1-738 | P1:Pump 1 OUT low pressure fault | 0:06 | 0.07303% | 9 | 4.478% | PNT1-738 P1:Pump 1 OUT low pressure fault
PLCZ-078 | Process Air/Power Enable Switch Off | 2:35 | 1.771% | 9 | 4.478% | PLCZ-078 Process Air/Power Enable Switch Off
PLCZ-087 | Entrance Intrusion Fault | 0:05 | 0.05363% | 5 | 2.488% | PLCZ-087 Entrance Intrusion Fault
PLCZ-186 | Request To Enter Circuit Failure | 0:02 | 0.02149% | 5 | 2.488% | PLCZ-186 Request To Enter Circuit Failure
Total |  | 146:04 | 100% | 201 | 100% | Total
Overall |  | 168:00 |  |  |  | Overall

## ThisWeekAlarms
DAP: DAP_CCEXTL1 |  | Downtime Alarms
Start: | 2014-09-21 | End: | 2014-09-28
Alarm | Description | Start Time | End Time | Duration | Style | Zone | Start Date
PLCZ-007 | FANUC Modular Build Fence Open | 2014-09-21 | 2014-09-21 00:58 | 0:58 |  | DAP_CCEXTL1 | 2014-09-21
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-21 00:58 | 2014-09-21 02:11 | 1:13 |  | DAP_CCEXTL1 | 2014-09-21
PLCZ-034 | Conveyor Held By FANUC | 2014-09-21 02:24 | 2014-09-21 02:27 | 0:03 |  | DAP_CCEXTL1 | 2014-09-21
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-21 02:30 | 2014-09-21 02:35 | 0:05 |  | DAP_CCEXTL1 | 2014-09-21
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-21 02:42 | 2014-09-21 19:27 | 16:45 |  | DAP_CCEXTL1 | 2014-09-21
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-21 19:28 | 2014-09-21 19:29 | 0:01 |  | DAP_CCEXTL1 | 2014-09-21
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-21 19:29 | 2014-09-21 19:32 | 0:02 |  | DAP_CCEXTL1 | 2014-09-21
Unknown | Unknown Conveyor Status | 2014-09-21 19:32 | 2014-09-21 19:32 | 0:01 |  |  | 2014-09-21
PLCZ-007 | FANUC Modular Build Fence Open | 2014-09-21 19:32 | 2014-09-21 19:36 | 0:03 |  | DAP_CCEXTL1 | 2014-09-21
PLCZ-186 | Request To Enter Circuit Failure | 2014-09-21 19:37 | 2014-09-21 19:37 | 0:00 |  | DAP_CCEXTL1 | 2014-09-21
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-21 19:37 | 2014-09-21 20:16 | 0:39 |  | DAP_CCEXTL1 | 2014-09-21
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-21 20:16 | 2014-09-21 20:16 | 0:00 |  | DAP_CCEXTL1 | 2014-09-21
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-21 20:16 | 2014-09-21 21:51 | 1:34 |  | DAP_CCEXTL1 | 2014-09-21
PLCZ-009 | Muting Active While Robot is at Cover Change | 2014-09-21 21:51 | 2014-09-21 21:52 | 0:00 |  | DAP_CCEXTL1 | 2014-09-21
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-21 21:53 | 2014-09-21 21:53 | 0:00 |  | DAP_CCEXTL1 | 2014-09-21
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-21 21:53 | 2014-09-21 22:15 | 0:22 |  | DAP_CCEXTL1 | 2014-09-21
PLCZ-009 | Muting Active While Robot is at Cover Change | 2014-09-21 22:15 | 2014-09-21 22:16 | 0:01 |  | DAP_CCEXTL1 | 2014-09-21
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-21 22:17 | 2014-09-21 22:17 | 0:00 |  | DAP_CCEXTL1 | 2014-09-21
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-21 22:17 | 2014-09-21 22:26 | 0:09 |  | DAP_CCEXTL1 | 2014-09-21
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-21 22:26 | 2014-09-21 22:32 | 0:05 |  | DAP_CCEXTL1 | 2014-09-21
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-21 22:32 | 2014-09-21 22:47 | 0:15 |  | DAP_CCEXTL1 | 2014-09-21
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-21 22:47 | 2014-09-21 22:50 | 0:02 |  | DAP_CCEXTL1 | 2014-09-21
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-21 22:50 | 2014-09-21 22:55 | 0:05 |  | DAP_CCEXTL1 | 2014-09-21
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-21 22:55 | 2014-09-21 22:56 | 0:01 |  | DAP_CCEXTL1 | 2014-09-21
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-21 22:56 | 2014-09-21 22:58 | 0:01 |  | DAP_CCEXTL1 | 2014-09-21
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-21 22:58 | 2014-09-21 23:02 | 0:04 |  | DAP_CCEXTL1 | 2014-09-21
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-21 23:02 | 2014-09-21 23:05 | 0:02 |  | DAP_CCEXTL1 | 2014-09-21
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-21 23:05 | 2014-09-21 23:11 | 0:06 |  | DAP_CCEXTL1 | 2014-09-21
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-21 23:11 | 2014-09-21 23:11 | 0:00 |  | DAP_CCEXTL1 | 2014-09-21
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-21 23:11 | 2014-09-21 23:17 | 0:06 |  | DAP_CCEXTL1 | 2014-09-21
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-21 23:17 | 2014-09-22 03:59 | 4:43 |  | DAP_CCEXTL1 | 2014-09-21
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-22 04:28 | 2014-09-22 05:44 | 1:16 |  | DAP_CCEXTL1 | 2014-09-22
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-22 05:46 | 2014-09-22 05:46 | 0:00 |  | DAP_CCEXTL1 | 2014-09-22
Unknown | Unknown Conveyor Status | 2014-09-22 05:47 | 2014-09-22 16:30 | 10:43 |  |  | 2014-09-22
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-22 16:30 | 2014-09-23 15:17 | 22:47 |  | DAP_CCEXTL1 | 2014-09-22
PLCZ-186 | Request To Enter Circuit Failure | 2014-09-23 15:19 | 2014-09-23 15:19 | 0:00 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-186 | Request To Enter Circuit Failure | 2014-09-23 15:19 | 2014-09-23 15:19 | 0:00 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-078 | Process Air/Power Enable Switch Off | 2014-09-23 15:20 | 2014-09-23 15:20 | 0:00 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-034 | Conveyor Held By FANUC | 2014-09-23 15:22 | 2014-09-23 15:26 | 0:04 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 15:34 | 2014-09-23 15:35 | 0:00 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 16:07 | 2014-09-23 16:07 | 0:00 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-186 | Request To Enter Circuit Failure | 2014-09-23 16:07 | 2014-09-23 16:09 | 0:01 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 16:10 | 2014-09-23 16:11 | 0:01 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 16:11 | 2014-09-23 16:13 | 0:02 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 16:13 | 2014-09-23 16:27 | 0:14 |  | DAP_CCEXTL1 | 2014-09-23
Unknown | Unknown Conveyor Status | 2014-09-23 16:27 | 2014-09-23 16:32 | 0:05 |  |  | 2014-09-23
PLCZ-078 | Process Air/Power Enable Switch Off | 2014-09-23 16:32 | 2014-09-23 17:32 | 1:00 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 17:33 | 2014-09-23 17:48 | 0:15 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 17:48 | 2014-09-23 17:50 | 0:02 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 17:50 | 2014-09-23 17:50 | 0:00 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 17:50 | 2014-09-23 17:54 | 0:03 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 17:54 | 2014-09-23 18:18 | 0:24 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 18:19 | 2014-09-23 18:22 | 0:03 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 18:22 | 2014-09-23 18:25 | 0:03 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 18:25 | 2014-09-23 18:29 | 0:04 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 18:29 | 2014-09-23 18:35 | 0:05 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 18:35 | 2014-09-23 18:39 | 0:04 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 18:39 | 2014-09-23 19:16 | 0:37 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-027 | E-Stats/Motion Locked Out | 2014-09-23 19:16 | 2014-09-23 19:17 | 0:00 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 19:17 | 2014-09-23 20:07 | 0:50 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 20:07 | 2014-09-23 20:08 | 0:01 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 20:08 | 2014-09-23 20:09 | 0:01 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-087 | Entrance Intrusion Fault | 2014-09-23 20:09 | 2014-09-23 20:09 | 0:00 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 20:10 | 2014-09-23 20:20 | 0:10 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 20:20 | 2014-09-23 20:23 | 0:02 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 20:23 | 2014-09-23 20:25 | 0:02 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 20:25 | 2014-09-23 20:52 | 0:26 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 20:53 | 2014-09-23 20:58 | 0:05 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 20:58 | 2014-09-23 21:08 | 0:10 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 21:08 | 2014-09-23 21:14 | 0:05 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 21:15 | 2014-09-23 21:25 | 0:11 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 21:26 | 2014-09-23 21:37 | 0:11 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 21:37 | 2014-09-23 21:42 | 0:05 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 21:42 | 2014-09-23 21:48 | 0:06 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 21:48 | 2014-09-23 21:51 | 0:03 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 21:51 | 2014-09-23 21:57 | 0:05 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 21:57 | 2014-09-23 22:01 | 0:04 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 22:01 | 2014-09-23 22:08 | 0:06 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 22:08 | 2014-09-23 22:15 | 0:07 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 22:15 | 2014-09-23 22:28 | 0:13 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 22:29 | 2014-09-23 22:33 | 0:03 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 22:33 | 2014-09-23 22:58 | 0:25 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-23 22:59 | 2014-09-24 02:51 | 3:51 |  | DAP_CCEXTL1 | 2014-09-23
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 02:51 | 2014-09-24 02:51 | 0:00 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 02:52 | 2014-09-24 02:57 | 0:05 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 02:57 | 2014-09-24 03:06 | 0:10 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 03:07 | 2014-09-24 03:54 | 0:47 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 03:55 | 2014-09-24 04:57 | 1:03 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 04:58 | 2014-09-24 06:02 | 1:03 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 06:02 | 2014-09-24 06:05 | 0:03 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 06:06 | 2014-09-24 07:42 | 1:37 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 07:44 | 2014-09-24 07:59 | 0:15 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 07:59 | 2014-09-24 08:59 | 1:00 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 09:01 | 2014-09-24 09:06 | 0:05 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 09:06 | 2014-09-24 09:15 | 0:09 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 09:15 | 2014-09-24 09:26 | 0:11 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 09:26 | 2014-09-24 09:27 | 0:00 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 09:27 | 2014-09-24 09:35 | 0:08 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 09:35 | 2014-09-24 09:43 | 0:09 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 09:44 | 2014-09-24 09:44 | 0:00 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 09:44 | 2014-09-24 09:51 | 0:07 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 09:52 | 2014-09-24 09:52 | 0:00 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 09:52 | 2014-09-24 09:53 | 0:01 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 09:53 | 2014-09-24 10:00 | 0:07 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 10:00 | 2014-09-24 10:01 | 0:00 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 10:01 | 2014-09-24 10:01 | 0:01 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 10:02 | 2014-09-24 10:09 | 0:07 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 10:09 | 2014-09-24 10:09 | 0:00 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 10:09 | 2014-09-24 10:22 | 0:13 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 10:23 | 2014-09-24 10:44 | 0:21 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 10:44 | 2014-09-24 10:54 | 0:10 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 10:54 | 2014-09-24 10:58 | 0:04 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 10:58 | 2014-09-24 11:04 | 0:06 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 11:04 | 2014-09-24 11:11 | 0:06 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 11:11 | 2014-09-24 11:20 | 0:09 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 11:20 | 2014-09-24 12:49 | 1:29 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 12:51 | 2014-09-24 12:54 | 0:04 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 12:55 | 2014-09-24 12:57 | 0:02 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 12:57 | 2014-09-24 12:58 | 0:00 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 12:58 | 2014-09-24 17:21 | 4:23 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 17:21 | 2014-09-24 17:27 | 0:06 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 17:27 | 2014-09-24 17:27 | 0:00 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 17:27 | 2014-09-24 17:31 | 0:04 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 17:32 | 2014-09-24 17:46 | 0:15 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 17:46 | 2014-09-24 17:49 | 0:02 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 17:49 | 2014-09-24 18:02 | 0:13 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 18:02 | 2014-09-24 18:02 | 0:00 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 18:02 | 2014-09-24 18:06 | 0:04 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 18:06 | 2014-09-24 18:14 | 0:08 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 18:14 | 2014-09-24 18:26 | 0:12 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 18:26 | 2014-09-24 18:32 | 0:07 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 18:33 | 2014-09-24 18:42 | 0:10 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 19:55 | 2014-09-24 19:58 | 0:03 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 19:59 | 2014-09-24 20:00 | 0:01 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 20:01 | 2014-09-24 20:14 | 0:13 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 20:14 | 2014-09-24 21:14 | 1:00 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 21:14 | 2014-09-24 21:18 | 0:04 |  | DAP_CCEXTL1 | 2014-09-24
PNT1-351 | P4:SA not calibrated | 2014-09-24 21:18 | 2014-09-24 21:26 | 0:08 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-24 21:29 | 2014-09-25 04:03 | 6:34 |  | DAP_CCEXTL1 | 2014-09-24
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-25 04:05 | 2014-09-25 04:31 | 0:26 |  | DAP_CCEXTL1 | 2014-09-25
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-25 04:31 | 2014-09-25 04:40 | 0:09 |  | DAP_CCEXTL1 | 2014-09-25
Unknown | Unknown Conveyor Status | 2014-09-25 04:43 | 2014-09-25 11:20 | 6:36 |  |  | 2014-09-25
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-25 11:20 | 2014-09-26 01:23 | 14:03 |  | DAP_CCEXTL1 | 2014-09-25
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-26 01:47 | 2014-09-26 01:52 | 0:05 |  | DAP_CCEXTL1 | 2014-09-26
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-26 01:52 | 2014-09-26 01:52 | 0:00 |  | DAP_CCEXTL1 | 2014-09-26
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-26 01:53 | 2014-09-26 01:53 | 0:00 |  | DAP_CCEXTL1 | 2014-09-26
PNT1-740 | P1:Pump 1 OUT high pressure fault | 2014-09-26 01:54 | 2014-09-26 01:55 | 0:01 | 6 | DAP_CCEXTL1 | 2014-09-26
PNT1-740 | P1:Pump 1 OUT high pressure fault | 2014-09-26 01:58 | 2014-09-26 01:58 | 0:00 | 0 | DAP_CCEXTL1 | 2014-09-26
PLCZ-009 | Muting Active While Robot is at Cover Change | 2014-09-26 02:09 | 2014-09-26 02:38 | 0:29 |  | DAP_CCEXTL1 | 2014-09-26
PLCZ-078 | Process Air/Power Enable Switch Off | 2014-09-26 02:39 | 2014-09-26 02:45 | 0:06 |  | DAP_CCEXTL1 | 2014-09-26
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-26 02:46 | 2014-09-26 11:24 | 8:37 |  | DAP_CCEXTL1 | 2014-09-26
PLCZ-186 | Request To Enter Circuit Failure | 2014-09-26 11:25 | 2014-09-26 11:25 | 0:00 |  | DAP_CCEXTL1 | 2014-09-26
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-26 13:11 | 2014-09-26 13:11 | 0:00 |  | DAP_CCEXTL1 | 2014-09-26
PNT1-709 | 2P3 Bearing Air NOT OK | 2014-09-26 13:11 | 2014-09-26 13:14 | 0:02 |  | DAP_CCEXTL1 | 2014-09-26
PLCZ-078 | Process Air/Power Enable Switch Off | 2014-09-26 13:14 | 2014-09-26 13:20 | 0:06 |  | DAP_CCEXTL1 | 2014-09-26
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-26 13:25 | 2014-09-26 13:29 | 0:04 |  | DAP_CCEXTL1 | 2014-09-26
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-26 13:39 | 2014-09-26 13:41 | 0:02 |  | DAP_CCEXTL1 | 2014-09-26
PLCZ-087 | Entrance Intrusion Fault | 2014-09-26 13:58 | 2014-09-26 13:59 | 0:01 |  | DAP_CCEXTL1 | 2014-09-26
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-26 14:11 | 2014-09-26 14:12 | 0:01 |  | DAP_CCEXTL1 | 2014-09-26
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-26 14:14 | 2014-09-26 14:15 | 0:01 |  | DAP_CCEXTL1 | 2014-09-26
PLCR-132 | 2P4 Waiting For Color Change | 2014-09-26 14:16 | 2014-09-26 14:16 | 0:00 | 5 | DAP_CCEXTL1 | 2014-09-26
PNT2-814 | P4:Estat spark detected fault | 2014-09-26 14:17 | 2014-09-26 14:21 | 0:04 | 5 | DAP_CCEXTL1 | 2014-09-26
PLCZ-078 | Process Air/Power Enable Switch Off | 2014-09-26 14:57 | 2014-09-26 15:56 | 0:59 |  | DAP_CCEXTL1 | 2014-09-26
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-26 15:56 | 2014-09-26 16:27 | 0:31 |  | DAP_CCEXTL1 | 2014-09-26
PNT1-709 | 2P1 Bearing Air NOT OK | 2014-09-26 16:52 | 2014-09-26 16:53 | 0:01 | 0 | DAP_CCEXTL1 | 2014-09-26
PNT1-738 | P1:Pump 1 OUT low pressure fault | 2014-09-26 17:21 | 2014-09-26 17:22 | 0:01 | 0 | DAP_CCEXTL1 | 2014-09-26
PLCZ-049 | Operator Console E-Stop Pressed | 2014-09-26 17:29 | 2014-09-26 17:30 | 0:00 |  | DAP_CCEXTL1 | 2014-09-26
PLCZ-078 | Process Air/Power Enable Switch Off | 2014-09-26 17:30 | 2014-09-26 17:30 | 0:01 |  | DAP_CCEXTL1 | 2014-09-26
PLCZ-087 | Entrance Intrusion Fault | 2014-09-26 17:41 | 2014-09-26 17:41 | 0:00 |  | DAP_CCEXTL1 | 2014-09-26
PNT1-738 | P1:Pump 1 OUT low pressure fault | 2014-09-26 17:55 | 2014-09-26 17:56 | 0:01 | 0 | DAP_CCEXTL1 | 2014-09-26
PNT1-738 | P1:Pump 1 OUT low pressure fault | 2014-09-26 17:59 | 2014-09-26 18:00 | 0:01 | 0 | DAP_CCEXTL1 | 2014-09-26
PNT1-444 | P3:Tracking que exceeded | 2014-09-26 18:02 | 2014-09-26 18:11 | 0:09 | 2 | DAP_CCEXTL1 | 2014-09-26
PNT1-738 | P1:Pump 1 OUT low pressure fault | 2014-09-26 18:11 | 2014-09-26 18:12 | 0:01 | 5 | DAP_CCEXTL1 | 2014-09-26
PNT1-738 | P1:Pump 1 OUT low pressure fault | 2014-09-26 18:12 | 2014-09-26 18:13 | 0:01 | 5 | DAP_CCEXTL1 | 2014-09-26
PLCR-132 | 2P4 Waiting For Color Change | 2014-09-26 18:14 | 2014-09-26 18:14 | 0:00 | 3 | DAP_CCEXTL1 | 2014-09-26
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-26 18:15 | 2014-09-26 18:16 | 0:01 |  | DAP_CCEXTL1 | 2014-09-26
PNT1-738 | P1:Pump 1 OUT low pressure fault | 2014-09-26 18:17 | 2014-09-26 18:17 | 0:00 | 5 | DAP_CCEXTL1 | 2014-09-26
SRVO-115 | 2P5 Limit error (G:1, A:4) | 2014-09-26 18:19 | 2014-09-26 18:25 | 0:07 | 9 | DAP_CCEXTL1 | 2014-09-26
PLCR-052 | 2P5 Waiting For Color Change | 2014-09-26 18:25 | 2014-09-26 18:26 | 0:00 | 5 | DAP_CCEXTL1 | 2014-09-26
PLCZ-087 | Entrance Intrusion Fault | 2014-09-26 18:26 | 2014-09-26 18:28 | 0:02 |  | DAP_CCEXTL1 | 2014-09-26
PLCZ-034 | Conveyor Held By FANUC | 2014-09-26 18:42 | 2014-09-26 18:42 | 0:00 |  | DAP_CCEXTL1 | 2014-09-26
PLCZ-027 | E-Stats/Motion Locked Out | 2014-09-26 18:58 | 2014-09-26 21:59 | 3:01 |  | DAP_CCEXTL1 | 2014-09-26
PLCZ-027 | E-Stats/Motion Locked Out | 2014-09-26 21:59 | 2014-09-27 08:33 | 10:34 |  | DAP_CCEXTL1 | 2014-09-26
PLCZ-125 | Invalid Bypassed States | 2014-09-27 08:33 | 2014-09-27 08:34 | 0:01 |  | DAP_CCEXTL1 | 2014-09-27
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-27 08:37 | 2014-09-27 08:49 | 0:12 |  | DAP_CCEXTL1 | 2014-09-27
PNT1-738 | P1:Pump 1 OUT low pressure fault | 2014-09-27 09:09 | 2014-09-27 09:09 | 0:00 | 0 | DAP_CCEXTL1 | 2014-09-27
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-27 09:27 | 2014-09-27 11:06 | 1:38 |  | DAP_CCEXTL1 | 2014-09-27
PLCZ-050 | E-Stop #1 Pressed | 2014-09-27 11:39 | 2014-09-27 11:41 | 0:02 |  | DAP_CCEXTL1 | 2014-09-27
PLCZ-125 | Invalid Bypassed States | 2014-09-27 18:53 | 2014-09-27 18:53 | 0:00 |  | DAP_CCEXTL1 | 2014-09-27
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-27 18:55 | 2014-09-27 19:12 | 0:17 |  | DAP_CCEXTL1 | 2014-09-27
PNT1-738 | P1:Pump 1 OUT low pressure fault | 2014-09-27 19:48 | 2014-09-27 19:49 | 0:01 | 0 | DAP_CCEXTL1 | 2014-09-27
PNT1-738 | P1:Pump 1 OUT low pressure fault | 2014-09-27 19:49 | 2014-09-27 19:50 | 0:01 | 8 | DAP_CCEXTL1 | 2014-09-27
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-27 19:53 | 2014-09-27 20:19 | 0:26 |  | DAP_CCEXTL1 | 2014-09-27
PLCZ-041 | Operator Holding Conveyor For Queue Edit | 2014-09-27 20:45 | 2014-09-27 20:45 | 0:00 |  | DAP_CCEXTL1 | 2014-09-27
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-27 23:01 | 2014-09-27 23:02 | 0:02 |  | DAP_CCEXTL1 | 2014-09-27
PNT1-740 | P5:Pump 1 OUT high pressure fault | 2014-09-27 23:05 | 2014-09-27 23:07 | 0:03 | 5 | DAP_CCEXTL1 | 2014-09-27
PLCZ-087 | Entrance Intrusion Fault | 2014-09-27 23:25 | 2014-09-27 23:26 | 0:01 |  | DAP_CCEXTL1 | 2014-09-27
PNT1-740 | P5:Pump 1 OUT high pressure fault | 2014-09-27 23:29 | 2014-09-27 23:29 | 0:01 | 0 | DAP_CCEXTL1 | 2014-09-27
PLCZ-078 | Process Air/Power Enable Switch Off | 2014-09-27 23:33 | 2014-09-27 23:57 | 0:24 |  | DAP_CCEXTL1 | 2014-09-27
PLCZ-078 | Process Air/Power Enable Switch Off | 2014-09-27 23:59 | 2014-09-28 | 0:00 |  | DAP_CCEXTL1 | 2014-09-27
PLCZ-078 | Process Air/Power Enable Switch Off | 2014-09-28 | 2014-09-28 | 0:00 |  | DAP_CCEXTL1 | 2014-09-27

## LastWeekDurationSummary
DAP: DAP_CCEXTL1 |  | Top 5 Downtime Alarms by Duration
Start: | 2014-09-14 | End: | 2014-09-21
Uptime: | 17.4% | MTBF: | 7:00 | MTTR: | 5:47
Alarm | Description | Duration | Duration(%) | Occurrences | Occurrences(%) | Alarm Description
Unknown | Unknown Conveyor Status | 64:54 | 46.78% | 6 | 25% | Unknown Unknown Conveyor Status
PLCZ-032 | Conveyor Hold Selected at SCC | 35:04 | 25.28% | 11 | 45.83% | PLCZ-032 Conveyor Hold Selected at SCC
PLCZ-020 | Booth Air Interlock Fault | 16:10 | 11.66% | 1 | 4.167% | PLCZ-020 Booth Air Interlock Fault
PLCZ-125 | Invalid Bypassed States | 15:23 | 11.09% | 1 | 4.167% | PLCZ-125 Invalid Bypassed States
PLCZ-007 | FANUC Modular Build Fence Open | 6:26 | 4.632% | 1 | 4.167% | PLCZ-007 FANUC Modular Build Fence Open
Total |  | 138:44 | 100% | 24 | 100% | Total
Overall |  | 168:00 |  |  |  | Overall

## LastWeekOccurrenceSummary
DAP: DAP_CCEXTL1 |  | Top 5 Downtime Alarms by Occurrences
Start: | 2014-09-14 | End: | 2014-09-21
Uptime: | 17.4% | MTBF: | 7:00 | MTTR: | 5:47
Alarm | Description | Duration | Duration(%) | Occurrences | Occurrences(%) | Alarm Description
PLCZ-032 | Conveyor Hold Selected at SCC | 35:04 | 25.28% | 11 | 45.83% | PLCZ-032 Conveyor Hold Selected at SCC
Unknown | Unknown Conveyor Status | 64:54 | 46.78% | 6 | 25% | Unknown Unknown Conveyor Status
PLCZ-241 | EtherNet I/P Safe Ouput Failure | 0:29 | 0.3528% | 1 | 4.167% | PLCZ-241 EtherNet I/P Safe Ouput Failure
PLCZ-020 | Booth Air Interlock Fault | 16:10 | 11.66% | 1 | 4.167% | PLCZ-020 Booth Air Interlock Fault
PLCZ-174 | Exit Light Curtain Fault Present | 0:03 | 0.03865% | 1 | 4.167% | PLCZ-174 Exit Light Curtain Fault Present
Total |  | 138:44 | 100% | 24 | 100% | Total
Overall |  | 168:00 |  |  |  | Overall

## LastWeekAlarms
DAP: DAP_CCEXTL1 |  | Downtime Alarms
Start: | 2014-09-14 | End: | 2014-09-21
Alarm | Description | Start Time | End Time | Duration | Style | Zone | Start Date
Unknown | Unknown Conveyor Status | 2014-09-14 | 2014-09-15 16:50 | 40:50 |  |  | 2014-09-14
PLCZ-241 | EtherNet I/P Safe Ouput Failure | 2014-09-15 16:50 | 2014-09-15 17:19 | 0:29 |  | DAP_CCEXTL1 | 2014-09-15
Unknown | Unknown Conveyor Status | 2014-09-15 17:19 | 2014-09-15 17:32 | 0:13 |  |  | 2014-09-15
PLCZ-020 | Booth Air Interlock Fault | 2014-09-15 17:32 | 2014-09-16 09:43 | 16:10 |  | DAP_CCEXTL1 | 2014-09-15
PLCZ-174 | Exit Light Curtain Fault Present | 2014-09-16 10:22 | 2014-09-16 10:25 | 0:03 |  | DAP_CCEXTL1 | 2014-09-16
PLCZ-172 | Exit Light Curtain Cycle Inputs | 2014-09-16 10:25 | 2014-09-16 10:25 | 0:00 |  | DAP_CCEXTL1 | 2014-09-16
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-16 11:29 | 2014-09-16 11:54 | 0:25 |  | DAP_CCEXTL1 | 2014-09-16
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-16 13:29 | 2014-09-16 13:30 | 0:00 |  | DAP_CCEXTL1 | 2014-09-16
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-16 13:41 | 2014-09-16 14:04 | 0:23 |  | DAP_CCEXTL1 | 2014-09-16
PLCZ-049 | Operator Console E-Stop Pressed | 2014-09-16 17:23 | 2014-09-16 17:37 | 0:14 |  | DAP_CCEXTL1 | 2014-09-16
Unknown | Unknown Conveyor Status | 2014-09-16 18:36 | 2014-09-16 18:47 | 0:10 |  |  | 2014-09-16
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-17 16:07 | 2014-09-17 16:22 | 0:15 |  | DAP_CCEXTL1 | 2014-09-17
Unknown | Unknown Conveyor Status | 2014-09-17 16:22 | 2014-09-18 15:53 | 23:30 |  |  | 2014-09-17
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-18 15:53 | 2014-09-19 17:33 | 25:41 |  | DAP_CCEXTL1 | 2014-09-18
Unknown | Unknown Conveyor Status | 2014-09-19 17:33 | 2014-09-19 17:42 | 0:09 |  |  | 2014-09-19
PLCZ-125 | Invalid Bypassed States | 2014-09-19 17:42 | 2014-09-20 09:05 | 15:23 |  | DAP_CCEXTL1 | 2014-09-19
Unknown | Unknown Conveyor Status | 2014-09-20 09:05 | 2014-09-20 09:06 | 0:01 |  |  | 2014-09-20
PLCZ-007 | FANUC Modular Build Fence Open | 2014-09-20 09:06 | 2014-09-20 15:32 | 6:26 |  | DAP_CCEXTL1 | 2014-09-20
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-20 15:38 | 2014-09-20 17:31 | 1:53 |  | DAP_CCEXTL1 | 2014-09-20
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-20 17:31 | 2014-09-20 18:11 | 0:39 |  | DAP_CCEXTL1 | 2014-09-20
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-20 18:11 | 2014-09-20 18:18 | 0:07 |  | DAP_CCEXTL1 | 2014-09-20
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-20 18:18 | 2014-09-20 18:19 | 0:00 |  | DAP_CCEXTL1 | 2014-09-20
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-20 18:19 | 2014-09-20 18:33 | 0:14 |  | DAP_CCEXTL1 | 2014-09-20
PLCZ-032 | Conveyor Hold Selected at SCC | 2014-09-20 18:33 | 2014-09-21 | 5:27 |  | DAP_CCEXTL1 | 2014-09-20

## TotalOccurrenceSummary
DAP: DAP_CCEXTL1 |  | Total of Each Week's Top 5 Downtime Alarms by Occurrences
Start: | 2013-09-28 | End: | 2014-09-28
Alarm | Description | Duration | Occurrences | Alarm Description
PLCZ-186 | Request To Enter Circuit Failure | 8:44 | 1 | PLCZ-186 Request To Enter Circuit Failure
PLCZ-074 | Booth Gate #4 Opened | 6:30 | 1 | PLCZ-074 Booth Gate #4 Opened
SRVO-001 | Operator panel E-stop | 3:22 | 1 | SRVO-001 Operator panel E-stop
PLCZ-276 | JBox Far Side Module 5 EtherNet I/P Comm. Fault | 0:26 | 2 | PLCZ-276 JBox Far Side Module 5 EtherNet I/P Comm. Fault
SRVO-402 | DCS Cart. pos. limit(17,G1,M0) 11 | 0:22 | 2 | SRVO-402 DCS Cart. pos. limit(17,G1,M0) 11
PLCZ-125 | Invalid Bypassed States | 1:38 | 3 | PLCZ-125 Invalid Bypassed States
PLCZ-228 | Write Data to Next Zone Error | 0:00 | 3 | PLCZ-228 Write Data to Next Zone Error
PLCZ-007 | FANUC Modular Build Fence Open | 34:17 | 4 | PLCZ-007 FANUC Modular Build Fence Open
PLCZ-027 | E-Stats/Motion Locked Out | 14:21 | 4 | PLCZ-027 E-Stats/Motion Locked Out
PLCZ-095 | Exit Intrusion Fault | 1:21 | 8 | PLCZ-095 Exit Intrusion Fault
PLCR-131 | P4 Holding Conveyor Until Home | 0:23 | 10 | PLCR-131 P4 Holding Conveyor Until Home
PLCZ-049 | Operator Console E-Stop Pressed | 7:53 | 12 | PLCZ-049 Operator Console E-Stop Pressed
PLCR-052 | P3 Waiting For Color Change | 0:32 | 16 | PLCR-052 P3 Waiting For Color Change
PLCZ-078 | Process Air/Power Enable Switch Off | 58:30 | 20 | PLCZ-078 Process Air/Power Enable Switch Off
Unknown | Unknown Conveyor Status | 218:08 | 46 | Unknown Unknown Conveyor Status
PNT2-813 | P6 :Estat Imax fault | 2:40 | 99 | PNT2-813 P6 :Estat Imax fault
PLCZ-032 | Conveyor Hold Selected at SCC | 543:45 | 260 | PLCZ-032 Conveyor Hold Selected at SCC

## TotalDurationSummary
DAP: DAP_CCEXTL1 |  | Total of Each Week's Top 5 Downtime Alarms by Duration
Start: | 2013-09-28 | End: | 2014-09-28
Alarm | Description | Duration | Occurrences | Alarm Description
PLCR-005 | Teach Pendant Enabled In Manual or Auto | 0:01 | 5 | PLCR-005 Teach Pendant Enabled In Manual or Auto
PLCZ-186 | Request To Enter Circuit Failure | 0:02 | 5 | PLCZ-186 Request To Enter Circuit Failure
PLCZ-228 | Write Data to Next Zone Error | 0:03 | 10 | PLCZ-228 Write Data to Next Zone Error
PNT1-704 | P1 Zero turbine speed timeout | 0:06 | 11 | PNT1-704 P1 Zero turbine speed timeout
PLCZ-087 | Entrance Intrusion Fault | 0:06 | 14 | PLCZ-087 Entrance Intrusion Fault
PNT1-726 | P2 Bearing Air NOT OK | 0:11 | 14 | PNT1-726 P2 Bearing Air NOT OK
PLCR-051 | P3 Holding Conveyor Until Home | 0:14 | 8 | PLCR-051 P3 Holding Conveyor Until Home
PNT1-544 | P3 : - Color: 6 Canister Out Of Paint | 0:16 | 12 | PNT1-544 P3 : - Color: 6 Canister Out Of Paint
PNT1-783 | P6:Pump 1 OUT low pressure fault | 0:17 | 29 | PNT1-783 P6:Pump 1 OUT low pressure fault
PLCR-131 | P4 Holding Conveyor Until Home | 0:23 | 10 | PLCR-131 P4 Holding Conveyor Until Home
PNT1-738 | P1:Pump 1 OUT low pressure fault | 0:23 | 35 | PNT1-738 P1:Pump 1 OUT low pressure fault
PLCZ-276 | JBox Far Side Module 5 EtherNet I/P Comm. Fault | 0:26 | 2 | PLCZ-276 JBox Far Side Module 5 EtherNet I/P Comm. Fault
PLCR-052 | P3 Waiting For Color Change | 0:32 | 16 | PLCR-052 P3 Waiting For Color Change
PLCZ-095 | Exit Intrusion Fault | 1:38 | 74 | PLCZ-095 Exit Intrusion Fault
PNT2-813 | P6 :Estat Imax fault | 2:40 | 99 | PNT2-813 P6 :Estat Imax fault
PLCZ-049 | Operator Console E-Stop Pressed | 2:59 | 4 | PLCZ-049 Operator Console E-Stop Pressed
PLCZ-074 | Booth Gate #4 Opened | 6:30 | 1 | PLCZ-074 Booth Gate #4 Opened
PLCZ-078 | Process Air/Power Enable Switch Off | 58:30 | 20 | PLCZ-078 Process Air/Power Enable Switch Off
Unknown | Unknown Conveyor Status | 166:02 | 24 | Unknown Unknown Conveyor Status
PLCZ-032 | Conveyor Hold Selected at SCC | 543:45 | 260 | PLCZ-032 Conveyor Hold Selected at SCC